## Loadcases_definition
Acronym | Scenario description
hL | high load, low DER generation
n1 | high load, low DER generation & contingency case
hW | high load, very high wind, high PV, high other DER generation
hPV | high load, high wind, very high PV, high other DER generation
ℓW | low load, very high wind, high PV, high other DER generation
ℓPV | low load, high wind, very high PV, high other DER generation

## Loadcases
Acronym | P_load | Sgen_wind | Sgen_photovoltaic | Sgen_others
hL | 1 | 0 | 0 | 0
n1 | 1 | 0 | 0 | 0
hW | 1 | 1 | 0.8 | 1
hPV | 1 | 0.85 | 0.95 | 1
lW | 0.1 | 1 | 0.8 | 1
lPV | 0.1 | 0.85 | 0.95 | 1

## Load_profiles_H0
Repräsentatives Profil "Haushalt"
[W] | Winter |  |  | Sommer |  |  | Übergangszeit
| Samstag | Sonntag | Werktag | Samstag | Sonntag | Werktag | Samstag | Sonntag | Werktag
0:15 | 70.8 | 87.5 | 67.6 | 89.8 | 100.1 | 86.3 | 80.2 | 93.4 | 77.8
0:30 | 68.2 | 81.1 | 60.8 | 84.9 | 92.5 | 76.9 | 75.1 | 86.8 | 69.6
0:45 | 65.9 | 75 | 54.9 | 80.7 | 85.9 | 68.8 | 70.7 | 81.2 | 62.4
1:00 | 63.3 | 69.1 | 49.9 | 76.6 | 79.9 | 62.4 | 66.6 | 75.7 | 56.6
1:15 | 59.5 | 63.4 | 46.2 | 71.7 | 74.1 | 58 | 62.3 | 70.1 | 52.5
1:30 | 55 | 58.2 | 43.6 | 66.6 | 68.7 | 55.3 | 58 | 64.5 | 49.7
1:45 | 50.5 | 53.6 | 41.9 | 61.6 | 63.9 | 53.6 | 54.1 | 59.3 | 47.9
2:00 | 46.6 | 49.9 | 40.8 | 57.4 | 59.9 | 52.4 | 50.8 | 54.9 | 46.6
2:15 | 43.9 | 47.3 | 40.1 | 54.5 | 57 | 51.3 | 48.4 | 51.7 | 45.5
2:30 | 42.3 | 45.5 | 39.6 | 52.6 | 55 | 50.3 | 46.8 | 49.4 | 44.5
2:45 | 41.4 | 44.2 | 39.4 | 51.4 | 53.5 | 49.2 | 45.7 | 47.8 | 43.8
3:00 | 40.8 | 43.3 | 39.1 | 50.8 | 52.4 | 48.3 | 44.9 | 46.6 | 43.3
3:15 | 40.3 | 42.4 | 38.8 | 50.3 | 51.5 | 47.5 | 44.4 | 45.5 | 43
3:30 | 39.9 | 41.5 | 38.6 | 50 | 50.8 | 46.9 | 43.9 | 44.5 | 43
3:45 | 39.5 | 40.7 | 38.3 | 49.9 | 50.2 | 46.5 | 43.5 | 43.8 | 43.1
4:00 | 39.1 | 40 | 38.3 | 49.9 | 49.9 | 46.6 | 43.3 | 43.3 | 43.3
4:15 | 38.8 | 39.3 | 38.4 | 50.1 | 49.9 | 47.1 | 43.1 | 43.1 | 43.4
4:30 | 38.5 | 38.8 | 38.8 | 50.4 | 50 | 48 | 43.1 | 43.1 | 43.7
4:45 | 38.3 | 38.5 | 39.3 | 50.7 | 50.1 | 49.3 | 43.1 | 43.2 | 44.2
5:00 | 38.3 | 38.3 | 40 | 50.8 | 49.9 | 50.8 | 43.3 | 43.3 | 44.9
5:15 | 38.5 | 38.3 | 40.9 | 50.8 | 49.5 | 52.7 | 43.6 | 43.3 | 46.3
5:30 | 39.1 | 38.4 | 43.1 | 50.9 | 48.9 | 55.6 | 44.2 | 43.3 | 48.9
5:45 | 40.3 | 38.7 | 47.7 | 51.6 | 48.4 | 60.5 | 45.4 | 43.2 | 53.7
6:00 | 42.4 | 39.1 | 55.8 | 53.3 | 48.3 | 68.2 | 47.4 | 43.3 | 61.6
6:15 | 45.6 | 39.7 | 68 | 56.2 | 48.7 | 79.2 | 50.5 | 43.5 | 72.9
6:30 | 49.9 | 40.4 | 82.8 | 60.4 | 49.8 | 92 | 54.9 | 44.3 | 86.3
6:45 | 55.3 | 41.3 | 98 | 65.8 | 51.9 | 104.7 | 60.7 | 46 | 100.1
7:00 | 61.6 | 42.4 | 111.5 | 72.4 | 54.9 | 115.7 | 68.2 | 49.1 | 112.4
7:15 | 68.9 | 44 | 121.6 | 80 | 59.2 | 123.5 | 77.5 | 53.9 | 121.8
7:30 | 77.1 | 46.6 | 128.5 | 88.5 | 64.9 | 128.6 | 87.9 | 60.4 | 128.5
7:45 | 86.1 | 51.1 | 132.7 | 97.4 | 72.3 | 132 | 98.6 | 68.8 | 132.9
8:00 | 95.7 | 58.3 | 134.8 | 106.5 | 81.6 | 134.8 | 109 | 79.1 | 135.7
8:15 | 105.8 | 68.6 | 135.4 | 115.6 | 92.9 | 137.8 | 118.4 | 91.1 | 137.2
8:30 | 115.8 | 81.3 | 134.8 | 124.4 | 105.6 | 140.7 | 126.7 | 104.3 | 137.7
8:45 | 124.9 | 95.2 | 133.1 | 132.8 | 119 | 143.2 | 133.8 | 118 | 137.7
9:00 | 132.3 | 109 | 130.7 | 140.7 | 132.3 | 144.8 | 139.8 | 131.5 | 137.3
9:15 | 137.6 | 121.9 | 127.7 | 147.8 | 144.8 | 145.3 | 144.7 | 144.2 | 136.9
9:30 | 141.1 | 133.7 | 124.6 | 154 | 156.2 | 144.9 | 148.8 | 155.5 | 136.4
9:45 | 143.3 | 144.4 | 121.5 | 158.9 | 166 | 143.8 | 152.4 | 165.3 | 135.7
10:00 | 144.8 | 154 | 119 | 162.3 | 174 | 142.3 | 155.6 | 173.1 | 134.8
10:15 | 146 | 162.6 | 117.3 | 164.1 | 180 | 140.8 | 158.9 | 178.8 | 133.7
10:30 | 147.2 | 170.5 | 116.2 | 164.7 | 184.6 | 139.5 | 162 | 183.1 | 132.4
10:45 | 148.4 | 178 | 115.7 | 165 | 188.7 | 138.5 | 164.9 | 187 | 131.4
11:00 | 149.8 | 185.6 | 115.7 | 165.6 | 193.1 | 138.2 | 167.3 | 191.4 | 130.7
11:15 | 151.5 | 193.3 | 116.1 | 167.1 | 198.3 | 138.6 | 169.2 | 197 | 130.6
11:30 | 153.5 | 200.6 | 117 | 169.4 | 203.7 | 140.1 | 170.8 | 203 | 131.5
11:45 | 156 | 206.6 | 118.7 | 172.4 | 208.7 | 142.6 | 172.5 | 208.5 | 133.6
12:00 | 159 | 210.6 | 121.5 | 175.6 | 212.2 | 146.5 | 174.8 | 212.2 | 137.3
12:15 | 162.4 | 211.8 | 125.4 | 179 | 213.7 | 151.5 | 177.7 | 213.5 | 142.6
12:30 | 165.8 | 210.2 | 129.6 | 181.9 | 212.8 | 156.7 | 180.8 | 211.8 | 148.2
12:45 | 168.4 | 205.9 | 133 | 183.7 | 209 | 160.7 | 183.1 | 207 | 152.8
13:00 | 169.8 | 198.9 | 134.8 | 183.9 | 202.3 | 162.3 | 183.9 | 198.9 | 154.8
13:15 | 169.4 | 189.6 | 134.2 | 182.1 | 192.4 | 160.5 | 182.7 | 187.6 | 153.2
13:30 | 167.6 | 178.7 | 131.7 | 178.7 | 180.9 | 156.1 | 179.8 | 174.6 | 148.9
13:45 | 164.8 | 167.3 | 128 | 174.1 | 169.2 | 150.2 | 175.8 | 161.7 | 143.2
14:00 | 161.5 | 156.5 | 124 | 169 | 159 | 144 | 171.5 | 150.6 | 137.3
14:15 | 158.1 | 147 | 120.2 | 163.7 | 151.4 | 138.4 | 167.2 | 142.8 | 132.4
14:30 | 154.9 | 138.9 | 116.8 | 158.9 | 146 | 133.6 | 163.1 | 137.6 | 128.4
14:45 | 151.8 | 132.1 | 113.7 | 154.6 | 141.6 | 129.4 | 159.2 | 133.9 | 124.8
15:00 | 149 | 126.5 | 110.7 | 151.5 | 137.3 | 125.7 | 155.6 | 130.7 | 121.5
15:15 | 146.5 | 122 | 107.9 | 149.6 | 132.4 | 122.4 | 152.3 | 127.1 | 118.1
15:30 | 144.4 | 118.1 | 105.5 | 148.6 | 127 | 119.6 | 149.5 | 123.1 | 114.8
15:45 | 142.7 | 114.8 | 103.5 | 148 | 121.6 | 117.4 | 147.2 | 119 | 111.7
16:00 | 141.5 | 111.5 | 102.4 | 147.3 | 116.5 | 115.7 | 145.7 | 114.9 | 109
16:15 | 140.9 | 108.3 | 102.2 | 146.2 | 112.2 | 114.6 | 145 | 111 | 106.9
16:30 | 141.7 | 105.9 | 103.2 | 145 | 108.9 | 114.2 | 145.4 | 107.7 | 105.7
16:45 | 144.9 | 105.2 | 105.6 | 144.1 | 106.7 | 114.6 | 146.7 | 105.6 | 105.5
17:00 | 151.5 | 107.4 | 109.9 | 144 | 105.7 | 115.7 | 149 | 104.9 | 106.5
17:15 | 161.9 | 112.9 | 116 | 144.9 | 106.1 | 117.6 | 152.3 | 106 | 109.1
17:30 | 174.6 | 120.9 | 123.7 | 146.9 | 107.7 | 120.3 | 156.4 | 108.8 | 113.1
17:45 | 187.4 | 130 | 132.6 | 150 | 110.4 | 123.9 | 161.5 | 113.2 | 118.3
18:00 | 198.1 | 139 | 142.3 | 154 | 114 | 128.2 | 167.3 | 119 | 124.8
18:15 | 205.2 | 146.8 | 152.4 | 158.8 | 118.3 | 133.2 | 173.7 | 126 | 132.4
18:30 | 209.1 | 153.5 | 162.2 | 164 | 123.4 | 138.9 | 180.4 | 133.7 | 140.6
18:45 | 211.1 | 159.7 | 171.2 | 169.2 | 129.2 | 145.1 | 186.7 | 141.5 | 149.1
19:00 | 212.2 | 165.6 | 178.9 | 174 | 135.7 | 151.5 | 192.3 | 149 | 157.3
19:15 | 213.2 | 171.5 | 184.7 | 177.8 | 142.8 | 157.9 | 196.5 | 155.5 | 164.9
19:30 | 213 | 176.4 | 188.2 | 180.5 | 149.8 | 163.8 | 199 | 160.6 | 171.1
19:45 | 210.4 | 179.1 | 188.9 | 181.8 | 155.7 | 168.3 | 199.4 | 163.6 | 175.2
20:00 | 203.9 | 178.1 | 186.4 | 181.4 | 159.8 | 170.6 | 197.3 | 164 | 176.5
20:15 | 192.9 | 172.9 | 180.7 | 179.3 | 161.4 | 170.4 | 192.4 | 161.5 | 174.5
20:30 | 179 | 164.7 | 172.7 | 175.7 | 160.8 | 168.3 | 185.2 | 157.1 | 170.5
20:45 | 164.4 | 155.6 | 163.9 | 171 | 159 | 165.3 | 176.6 | 152.2 | 165.7
21:00 | 151.5 | 147.3 | 155.6 | 165.6 | 156.5 | 162.3 | 167.3 | 148.2 | 161.5
21:15 | 141.9 | 141.4 | 148.9 | 160.1 | 153.9 | 160.1 | 157.9 | 145.9 | 158.9
21:30 | 135.3 | 137.2 | 143.4 | 155.1 | 151.5 | 158.4 | 149.5 | 144.7 | 157.2
21:45 | 131 | 133.7 | 138.4 | 151.1 | 149.3 | 156.8 | 142.9 | 143.6 | 155.4
22:00 | 128.2 | 129.8 | 133.2 | 149 | 147.3 | 154.8 | 139 | 141.5 | 152.3
22:15 | 126.1 | 124.8 | 127.2 | 148.9 | 145.4 | 151.9 | 138.3 | 137.5 | 147.2
22:30 | 124.1 | 118.6 | 120.5 | 149.6 | 143 | 147.9 | 139.2 | 131.8 | 140.3
22:45 | 121.6 | 111.6 | 113.3 | 149.4 | 139.2 | 142.5 | 139.5 | 124.7 | 132.1
23:00 | 118.2 | 104 | 105.7 | 146.5 | 133.2 | 135.7 | 137.3 | 116.5 | 123.2
23:15 | 113.4 | 96.2 | 98 | 139.8 | 124.4 | 127.2 | 131.1 | 107.6 | 114
23:30 | 107.4 | 88.4 | 90.2 | 130.3 | 113.8 | 117.5 | 121.9 | 98.4 | 104.8
23:45 | 100.8 | 80.7 | 82.5 | 119.5 | 102.5 | 107.1 | 111.5 | 89.2 | 95.6
0:00 | 94.1 | 73.2 | 74.9 | 109 | 91.6 | 96.5 | 101.5 | 80.7 | 86.6
Viertelstunden-Leistungswerte für den Jahresverbrauch von 1.000 kWh/a

## Load_profiles_H0_scaled
| W_Samstag | W_Sonntag | W_Werktag | S_Samstag | S_Sonntag | S_Werktag | U_Samstag | U_Sonntag | U_Werktag
0:15 | 0.33131 | 0.40945 | 0.31633 | 0.42022 | 0.46841 | 0.40384 | 0.37529 | 0.43706 | 0.36406
0:30 | 0.31914 | 0.3795 | 0.28451 | 0.39729 | 0.43285 | 0.35985 | 0.35143 | 0.40618 | 0.32569
0:45 | 0.30838 | 0.35096 | 0.2569 | 0.37763 | 0.40197 | 0.32195 | 0.33084 | 0.37997 | 0.292
1:00 | 0.29621 | 0.32335 | 0.2335 | 0.35845 | 0.37389 | 0.292 | 0.31165 | 0.35423 | 0.26486
1:15 | 0.27843 | 0.29668 | 0.21619 | 0.33552 | 0.34675 | 0.27141 | 0.29153 | 0.32803 | 0.24567
1:30 | 0.25737 | 0.27234 | 0.20402 | 0.31165 | 0.32148 | 0.25877 | 0.27141 | 0.30182 | 0.23257
1:45 | 0.23631 | 0.25082 | 0.19607 | 0.28825 | 0.29902 | 0.25082 | 0.25316 | 0.27749 | 0.22415
2:00 | 0.21806 | 0.2335 | 0.19092 | 0.2686 | 0.2803 | 0.2452 | 0.23772 | 0.2569 | 0.21806
2:15 | 0.20543 | 0.22134 | 0.18765 | 0.25503 | 0.26673 | 0.24006 | 0.22649 | 0.24193 | 0.21292
2:30 | 0.19794 | 0.21292 | 0.18531 | 0.24614 | 0.25737 | 0.23538 | 0.219 | 0.23117 | 0.20824
2:45 | 0.19373 | 0.20683 | 0.18437 | 0.24052 | 0.25035 | 0.23023 | 0.21385 | 0.22368 | 0.20496
3:00 | 0.19092 | 0.20262 | 0.18297 | 0.23772 | 0.2452 | 0.22602 | 0.21011 | 0.21806 | 0.20262
3:15 | 0.18858 | 0.19841 | 0.18156 | 0.23538 | 0.24099 | 0.22227 | 0.20777 | 0.21292 | 0.20122
3:30 | 0.18671 | 0.1942 | 0.18063 | 0.23397 | 0.23772 | 0.21947 | 0.20543 | 0.20824 | 0.20122
3:45 | 0.18484 | 0.19045 | 0.17922 | 0.2335 | 0.23491 | 0.21759 | 0.20356 | 0.20496 | 0.20168
4:00 | 0.18297 | 0.18718 | 0.17922 | 0.2335 | 0.2335 | 0.21806 | 0.20262 | 0.20262 | 0.20262
4:15 | 0.18156 | 0.1839 | 0.17969 | 0.23444 | 0.2335 | 0.2204 | 0.20168 | 0.20168 | 0.20309
4:30 | 0.18016 | 0.18156 | 0.18156 | 0.23584 | 0.23397 | 0.22461 | 0.20168 | 0.20168 | 0.20449
4:45 | 0.17922 | 0.18016 | 0.1839 | 0.23725 | 0.23444 | 0.2307 | 0.20168 | 0.20215 | 0.20683
5:00 | 0.17922 | 0.17922 | 0.18718 | 0.23772 | 0.2335 | 0.23772 | 0.20262 | 0.20262 | 0.21011
5:15 | 0.18016 | 0.17922 | 0.19139 | 0.23772 | 0.23163 | 0.24661 | 0.20402 | 0.20262 | 0.21666
5:30 | 0.18297 | 0.17969 | 0.20168 | 0.23818 | 0.22883 | 0.26018 | 0.20683 | 0.20262 | 0.22883
5:45 | 0.18858 | 0.18109 | 0.22321 | 0.24146 | 0.22649 | 0.28311 | 0.21245 | 0.20215 | 0.25129
6:00 | 0.19841 | 0.18297 | 0.26111 | 0.24942 | 0.22602 | 0.31914 | 0.22181 | 0.20262 | 0.28825
6:15 | 0.21338 | 0.18577 | 0.3182 | 0.26299 | 0.22789 | 0.37061 | 0.23631 | 0.20356 | 0.34113
6:30 | 0.2335 | 0.18905 | 0.38746 | 0.28264 | 0.23304 | 0.43051 | 0.2569 | 0.2073 | 0.40384
6:45 | 0.25877 | 0.19326 | 0.45859 | 0.30791 | 0.24286 | 0.48994 | 0.28404 | 0.21526 | 0.46841
7:00 | 0.28825 | 0.19841 | 0.52176 | 0.33879 | 0.2569 | 0.54141 | 0.31914 | 0.22976 | 0.52597
7:15 | 0.32241 | 0.2059 | 0.56902 | 0.37436 | 0.27702 | 0.57791 | 0.36266 | 0.25222 | 0.56996
7:30 | 0.36079 | 0.21806 | 0.60131 | 0.41413 | 0.3037 | 0.60178 | 0.41132 | 0.28264 | 0.60131
7:45 | 0.4029 | 0.23912 | 0.62096 | 0.45578 | 0.33832 | 0.61769 | 0.46139 | 0.32195 | 0.6219
8:00 | 0.44782 | 0.27281 | 0.63079 | 0.49836 | 0.38184 | 0.63079 | 0.51006 | 0.37015 | 0.635
8:15 | 0.49509 | 0.32101 | 0.6336 | 0.54095 | 0.43472 | 0.64483 | 0.55405 | 0.4263 | 0.64202
8:30 | 0.54188 | 0.38044 | 0.63079 | 0.58212 | 0.49415 | 0.6584 | 0.59289 | 0.48807 | 0.64436
8:45 | 0.58446 | 0.44548 | 0.62284 | 0.62143 | 0.55686 | 0.6701 | 0.62611 | 0.55218 | 0.64436
9:00 | 0.61909 | 0.51006 | 0.61161 | 0.6584 | 0.61909 | 0.67759 | 0.65419 | 0.61535 | 0.64249
9:15 | 0.64389 | 0.57043 | 0.59757 | 0.69162 | 0.67759 | 0.67993 | 0.67712 | 0.67478 | 0.64062
9:30 | 0.66027 | 0.62564 | 0.58306 | 0.72064 | 0.73093 | 0.67805 | 0.6963 | 0.72766 | 0.63828
9:45 | 0.67057 | 0.67571 | 0.56855 | 0.74357 | 0.77679 | 0.67291 | 0.71315 | 0.77351 | 0.635
10:00 | 0.67759 | 0.72064 | 0.55686 | 0.75948 | 0.81423 | 0.66589 | 0.72812 | 0.81001 | 0.63079
10:15 | 0.6832 | 0.76088 | 0.5489 | 0.7679 | 0.8423 | 0.65887 | 0.74357 | 0.83669 | 0.62564
10:30 | 0.68882 | 0.79785 | 0.54375 | 0.77071 | 0.86383 | 0.65278 | 0.75807 | 0.85681 | 0.61956
10:45 | 0.69443 | 0.83294 | 0.54141 | 0.77211 | 0.88301 | 0.6481 | 0.77164 | 0.87506 | 0.61488
11:00 | 0.70098 | 0.86851 | 0.54141 | 0.77492 | 0.9036 | 0.6467 | 0.78287 | 0.89565 | 0.61161
11:15 | 0.70894 | 0.90454 | 0.54328 | 0.78194 | 0.92794 | 0.64857 | 0.79176 | 0.92185 | 0.61114
11:30 | 0.7183 | 0.9387 | 0.5475 | 0.7927 | 0.95321 | 0.65559 | 0.79925 | 0.94993 | 0.61535
11:45 | 0.73 | 0.96678 | 0.55545 | 0.80674 | 0.9766 | 0.66729 | 0.80721 | 0.97567 | 0.62518
12:00 | 0.74403 | 0.98549 | 0.56855 | 0.82171 | 0.99298 | 0.68554 | 0.81797 | 0.99298 | 0.64249
12:15 | 0.75994 | 0.99111 | 0.5868 | 0.83762 | 1 | 0.70894 | 0.83154 | 0.99906 | 0.66729
12:30 | 0.77585 | 0.98362 | 0.60646 | 0.85119 | 0.99579 | 0.73327 | 0.84605 | 0.99111 | 0.6935
12:45 | 0.78802 | 0.9635 | 0.62237 | 0.85962 | 0.97801 | 0.75199 | 0.85681 | 0.96865 | 0.71502
13:00 | 0.79457 | 0.93074 | 0.63079 | 0.86055 | 0.94665 | 0.75948 | 0.86055 | 0.93074 | 0.72438
13:15 | 0.7927 | 0.88723 | 0.62798 | 0.85213 | 0.90033 | 0.75105 | 0.85494 | 0.87787 | 0.71689
13:30 | 0.78428 | 0.83622 | 0.61628 | 0.83622 | 0.84651 | 0.73046 | 0.84137 | 0.81703 | 0.69677
13:45 | 0.77117 | 0.78287 | 0.59897 | 0.81469 | 0.79176 | 0.70285 | 0.82265 | 0.75667 | 0.6701
14:00 | 0.75573 | 0.73234 | 0.58025 | 0.79083 | 0.74403 | 0.67384 | 0.80253 | 0.70473 | 0.64249
14:15 | 0.73982 | 0.68788 | 0.56247 | 0.76603 | 0.70847 | 0.64764 | 0.78241 | 0.66823 | 0.61956
14:30 | 0.72485 | 0.64998 | 0.54656 | 0.74357 | 0.6832 | 0.62518 | 0.76322 | 0.64389 | 0.60084
14:45 | 0.71034 | 0.61816 | 0.53205 | 0.72344 | 0.66261 | 0.60552 | 0.74497 | 0.62658 | 0.584
15:00 | 0.69724 | 0.59195 | 0.51802 | 0.70894 | 0.64249 | 0.58821 | 0.72812 | 0.61161 | 0.56855
15:15 | 0.68554 | 0.57089 | 0.50491 | 0.70005 | 0.61956 | 0.57277 | 0.71268 | 0.59476 | 0.55264
15:30 | 0.67571 | 0.55264 | 0.49368 | 0.69537 | 0.59429 | 0.55966 | 0.69958 | 0.57604 | 0.5372
15:45 | 0.66776 | 0.5372 | 0.48432 | 0.69256 | 0.56902 | 0.54937 | 0.68882 | 0.55686 | 0.5227
16:00 | 0.66214 | 0.52176 | 0.47918 | 0.68928 | 0.54516 | 0.54141 | 0.6818 | 0.53767 | 0.51006
16:15 | 0.65934 | 0.50679 | 0.47824 | 0.68414 | 0.52504 | 0.53627 | 0.67852 | 0.51942 | 0.50023
16:30 | 0.66308 | 0.49555 | 0.48292 | 0.67852 | 0.50959 | 0.53439 | 0.68039 | 0.50398 | 0.49462
16:45 | 0.67805 | 0.49228 | 0.49415 | 0.67431 | 0.4993 | 0.53627 | 0.68648 | 0.49415 | 0.49368
17:00 | 0.70894 | 0.50257 | 0.51427 | 0.67384 | 0.49462 | 0.54141 | 0.69724 | 0.49088 | 0.49836
17:15 | 0.7576 | 0.52831 | 0.54282 | 0.67805 | 0.49649 | 0.5503 | 0.71268 | 0.49602 | 0.51053
17:30 | 0.81703 | 0.56575 | 0.57885 | 0.68741 | 0.50398 | 0.56294 | 0.73187 | 0.50912 | 0.52925
17:45 | 0.87693 | 0.60833 | 0.6205 | 0.70192 | 0.51661 | 0.57978 | 0.75573 | 0.52971 | 0.55358
18:00 | 0.927 | 0.65044 | 0.66589 | 0.72064 | 0.53346 | 0.59991 | 0.78287 | 0.55686 | 0.584
18:15 | 0.96022 | 0.68694 | 0.71315 | 0.7431 | 0.55358 | 0.6233 | 0.81282 | 0.58961 | 0.61956
18:30 | 0.97847 | 0.7183 | 0.75901 | 0.76743 | 0.57745 | 0.64998 | 0.84417 | 0.62564 | 0.65793
18:45 | 0.98783 | 0.74731 | 0.80112 | 0.79176 | 0.60459 | 0.67899 | 0.87365 | 0.66214 | 0.69771
19:00 | 0.99298 | 0.77492 | 0.83715 | 0.81423 | 0.635 | 0.70894 | 0.89986 | 0.69724 | 0.73608
19:15 | 0.99766 | 0.80253 | 0.8643 | 0.83201 | 0.66823 | 0.73889 | 0.91951 | 0.72766 | 0.77164
19:30 | 0.99672 | 0.82546 | 0.88067 | 0.84464 | 0.70098 | 0.7665 | 0.93121 | 0.75152 | 0.80066
19:45 | 0.98456 | 0.83809 | 0.88395 | 0.85073 | 0.72859 | 0.78755 | 0.93308 | 0.76556 | 0.81984
20:00 | 0.95414 | 0.83341 | 0.87225 | 0.84885 | 0.74778 | 0.79832 | 0.92326 | 0.76743 | 0.82592
20:15 | 0.90267 | 0.80908 | 0.84558 | 0.83903 | 0.75526 | 0.79738 | 0.90033 | 0.75573 | 0.81657
20:30 | 0.83762 | 0.77071 | 0.80814 | 0.82218 | 0.75246 | 0.78755 | 0.86664 | 0.73514 | 0.79785
20:45 | 0.7693 | 0.72812 | 0.76696 | 0.80019 | 0.74403 | 0.77351 | 0.82639 | 0.71221 | 0.77539
21:00 | 0.70894 | 0.68928 | 0.72812 | 0.77492 | 0.73234 | 0.75948 | 0.78287 | 0.6935 | 0.75573
21:15 | 0.66401 | 0.66168 | 0.69677 | 0.74918 | 0.72017 | 0.74918 | 0.73889 | 0.68273 | 0.74357
21:30 | 0.63313 | 0.64202 | 0.67103 | 0.72578 | 0.70894 | 0.74123 | 0.69958 | 0.67712 | 0.73561
21:45 | 0.61301 | 0.62564 | 0.64764 | 0.70707 | 0.69864 | 0.73374 | 0.66869 | 0.67197 | 0.72719
22:00 | 0.59991 | 0.60739 | 0.6233 | 0.69724 | 0.68928 | 0.72438 | 0.65044 | 0.66214 | 0.71268
22:15 | 0.59008 | 0.584 | 0.59523 | 0.69677 | 0.68039 | 0.71081 | 0.64717 | 0.64343 | 0.68882
22:30 | 0.58072 | 0.55498 | 0.56387 | 0.70005 | 0.66916 | 0.69209 | 0.65138 | 0.61675 | 0.65653
22:45 | 0.56902 | 0.52223 | 0.53018 | 0.69911 | 0.65138 | 0.66682 | 0.65278 | 0.58353 | 0.61816
23:00 | 0.55311 | 0.48666 | 0.49462 | 0.68554 | 0.6233 | 0.635 | 0.64249 | 0.54516 | 0.57651
23:15 | 0.53065 | 0.45016 | 0.45859 | 0.65419 | 0.58212 | 0.59523 | 0.61348 | 0.50351 | 0.53346
23:30 | 0.50257 | 0.41366 | 0.42209 | 0.60973 | 0.53252 | 0.54984 | 0.57043 | 0.46046 | 0.49041
23:45 | 0.47169 | 0.37763 | 0.38606 | 0.5592 | 0.47964 | 0.50117 | 0.52176 | 0.41741 | 0.44736
0:00 | 0.44034 | 0.34254 | 0.35049 | 0.51006 | 0.42864 | 0.45157 | 0.47496 | 0.37763 | 0.40524

## Load_profiles_G0
G0 | Winter |  |  | Sommer |  |  | Übergangszeit
[W] | Samstag | Sonntag | Werktag | Samstag | Sonntag | Werktag | Samstag | Sonntag | Werktag
0:15 | 70 | 63.2 | 65.5 | 74.6 | 68.8 | 71.5 | 75.8 | 68.3 | 73
0:30 | 73 | 61 | 62.6 | 76.2 | 67.4 | 69 | 76.7 | 66.5 | 70.1
0:45 | 75.9 | 58.9 | 59.6 | 77.7 | 65.7 | 66.3 | 77.7 | 64.6 | 67.1
1:00 | 77.6 | 57 | 57 | 78.5 | 63.5 | 63.5 | 78.5 | 62.6 | 64.5
1:15 | 77.1 | 55.3 | 54.8 | 77.9 | 60.9 | 60.9 | 78.5 | 60.3 | 62.3
1:30 | 75 | 53.7 | 53.1 | 76.3 | 58 | 58.6 | 77.8 | 57.9 | 60.6
1:45 | 72.1 | 52.1 | 51.7 | 74.1 | 55.4 | 56.6 | 76.6 | 55.5 | 59.2
2:00 | 69.1 | 50.5 | 50.5 | 71.9 | 53.3 | 55.1 | 74.7 | 53.3 | 57.9
2:15 | 66.8 | 48.7 | 49.4 | 70.2 | 52 | 54.2 | 72.6 | 51.2 | 56.7
2:30 | 65.1 | 46.9 | 48.5 | 68.9 | 51.4 | 53.7 | 70.4 | 49.5 | 55.6
2:45 | 64.1 | 45.2 | 47.9 | 67.9 | 51 | 53.4 | 68.5 | 48 | 54.7
3:00 | 63.5 | 43.9 | 47.7 | 67.3 | 50.5 | 53.3 | 67.3 | 46.7 | 54.2
3:15 | 63.4 | 43 | 47.9 | 66.9 | 49.6 | 53.1 | 67 | 45.7 | 54.1
3:30 | 63.6 | 42.5 | 48.7 | 66.7 | 48.5 | 53.2 | 67.5 | 44.9 | 54.6
3:45 | 64 | 42.2 | 50.2 | 66.8 | 47.5 | 54.1 | 68.3 | 44.3 | 55.8
4:00 | 64.5 | 42 | 52.3 | 67.3 | 46.7 | 56.1 | 69.1 | 43.9 | 57.9
4:15 | 65 | 41.9 | 55.1 | 68 | 46.4 | 59.4 | 69.7 | 43.6 | 60.9
4:30 | 65.6 | 41.8 | 58.2 | 69 | 46.5 | 63.3 | 70.1 | 43.5 | 64.4
4:45 | 66.3 | 41.8 | 61.2 | 70 | 46.6 | 67.2 | 70.5 | 43.6 | 68
5:00 | 67.3 | 42 | 63.5 | 71 | 46.7 | 70.1 | 71 | 43.9 | 71
5:15 | 68.5 | 42.6 | 65 | 71.8 | 46.6 | 71.4 | 71.8 | 44.5 | 73.2
5:30 | 69.9 | 43.4 | 66 | 72.4 | 46.3 | 71.6 | 72.5 | 45.1 | 74.7
5:45 | 71.4 | 44.4 | 67.1 | 72.8 | 46 | 71.2 | 73 | 45.6 | 75.7
6:00 | 72.9 | 45.8 | 69.1 | 72.9 | 45.8 | 71 | 72.9 | 45.8 | 76.6
6:15 | 74.4 | 47.4 | 72.5 | 73 | 45.9 | 71.5 | 72.2 | 45.6 | 77.7
6:30 | 76.8 | 49 | 77.1 | 73.9 | 46.3 | 73.1 | 72.2 | 45.3 | 79.3
6:45 | 81 | 50.4 | 82.9 | 77 | 47.2 | 75.9 | 74.4 | 45.2 | 81.9
7:00 | 87.8 | 51.4 | 89.7 | 83.2 | 48.6 | 80.4 | 80.4 | 45.8 | 86
7:15 | 98 | 51.8 | 97.6 | 93.3 | 50.5 | 86.6 | 91 | 47.2 | 91.9
7:30 | 110.7 | 51.7 | 107.3 | 106.2 | 52.6 | 95.1 | 105.2 | 49.1 | 100.4
7:45 | 124.8 | 51.2 | 119.9 | 120.5 | 54.3 | 106.3 | 121.2 | 51 | 111.9
8:00 | 139.2 | 50.5 | 136.4 | 134.5 | 55.1 | 120.5 | 137.4 | 52.3 | 127.1
8:15 | 153 | 49.6 | 157.1 | 147.2 | 54.8 | 137.8 | 152.1 | 52.8 | 145.9
8:30 | 165.4 | 49 | 179.5 | 157.8 | 53.9 | 156.3 | 164.9 | 52.9 | 166.2
8:45 | 175.9 | 48.8 | 200.5 | 166.2 | 53.2 | 173.4 | 175.1 | 53.1 | 185.2
9:00 | 184.1 | 49.5 | 216.8 | 171.9 | 53.3 | 186.9 | 182.2 | 54.2 | 200
9:15 | 189.5 | 51.3 | 226.2 | 175 | 54.7 | 195 | 186.1 | 56.4 | 208.5
9:30 | 192.8 | 53.8 | 230 | 176.1 | 57.2 | 198.7 | 187.5 | 59.5 | 212.1
9:45 | 195.1 | 56.8 | 230.4 | 176.3 | 60 | 199.8 | 187.7 | 62.7 | 212.6
10:00 | 197.1 | 59.8 | 229.9 | 176.6 | 62.6 | 200 | 187.8 | 65.4 | 212.1
10:15 | 199.8 | 62.6 | 230 | 177.7 | 64.5 | 200.6 | 188.7 | 67.2 | 212.2
10:30 | 202.7 | 65.1 | 231.2 | 179.4 | 65.9 | 201.9 | 190.1 | 68.5 | 213.1
10:45 | 205.4 | 67.2 | 233 | 181.3 | 67 | 203.6 | 191.9 | 69.6 | 214.6
11:00 | 207.4 | 69.1 | 235.5 | 183.1 | 68.2 | 205.6 | 193.4 | 71 | 216.8
11:15 | 208.4 | 70.8 | 238.1 | 184.4 | 69.7 | 207.6 | 194.5 | 73.1 | 219.2
11:30 | 208.3 | 72.2 | 240 | 185.2 | 71.4 | 209.1 | 195.1 | 75.6 | 221.2
11:45 | 207.4 | 73.5 | 240.4 | 185.3 | 73.2 | 209.6 | 195.3 | 78.2 | 222
12:00 | 205.6 | 74.7 | 238.3 | 185 | 74.7 | 208.4 | 195.3 | 80.4 | 220.5
12:15 | 203 | 76 | 233 | 184.1 | 76 | 205.1 | 194.9 | 81.9 | 216.3
12:30 | 199.7 | 77.3 | 225.1 | 182.4 | 77 | 200 | 193.9 | 82.8 | 209.8
12:45 | 195.6 | 78.4 | 215.7 | 179.7 | 77.8 | 193.8 | 191.7 | 83.2 | 201.9
13:00 | 190.6 | 79.4 | 205.6 | 175.7 | 78.5 | 186.9 | 187.8 | 83.2 | 193.4
13:15 | 184.6 | 80.1 | 195.7 | 170.1 | 79.1 | 179.9 | 181.9 | 82.8 | 185
13:30 | 177.5 | 80.5 | 186.7 | 163.1 | 79.5 | 173.4 | 174.1 | 82.1 | 177.4
13:45 | 168.9 | 80.3 | 179.2 | 154.6 | 79.3 | 168.1 | 164.8 | 80.9 | 170.9
14:00 | 158.8 | 79.4 | 173.8 | 144.8 | 78.5 | 164.4 | 154.2 | 79.4 | 166.3
14:15 | 147.2 | 77.8 | 171 | 133.9 | 76.8 | 163 | 142.6 | 77.5 | 163.9
14:30 | 134.8 | 75.7 | 170.7 | 122.7 | 74.4 | 163.5 | 130.9 | 75.3 | 163.6
14:45 | 122.7 | 73.4 | 172.7 | 112 | 71.8 | 165.4 | 119.8 | 73.1 | 165.1
15:00 | 112.1 | 71 | 176.6 | 102.8 | 69.1 | 168.2 | 110.3 | 71 | 168.2
15:15 | 103.8 | 68.9 | 182.1 | 95.7 | 66.8 | 171.5 | 102.7 | 69.2 | 172.5
15:30 | 97.4 | 67 | 188.2 | 90.4 | 64.8 | 174.6 | 96.9 | 67.6 | 177.3
15:45 | 92.6 | 65.2 | 193.9 | 86.4 | 63.1 | 177.2 | 92.1 | 66.1 | 181.4
16:00 | 88.8 | 63.5 | 198.1 | 83.2 | 61.7 | 178.5 | 87.8 | 64.5 | 184.1
16:15 | 85.6 | 62 | 200.1 | 80.3 | 60.4 | 178.2 | 83.6 | 62.8 | 184.5
16:30 | 83.3 | 61.2 | 200.7 | 77.8 | 59.7 | 176.8 | 79.7 | 61.5 | 183.6
16:45 | 82.4 | 61.8 | 200.9 | 75.9 | 59.7 | 175.1 | 76.9 | 61.2 | 182.1
17:00 | 83.2 | 64.5 | 201.8 | 74.7 | 60.7 | 173.8 | 75.7 | 62.6 | 181.3
17:15 | 85.8 | 69.5 | 204 | 74.4 | 63 | 173.2 | 76.5 | 65.9 | 181.5
17:30 | 89.5 | 76 | 205.8 | 74.8 | 66 | 172.4 | 78.6 | 70.4 | 181.7 | 240.4
17:45 | 93.4 | 82.6 | 205.5 | 75.6 | 69.2 | 170.2 | 81.1 | 75 | 180
18:00 | 96.2 | 87.8 | 200.9 | 76.6 | 71.9 | 165.4 | 83.2 | 78.5 | 174.7
18:15 | 97.4 | 90.8 | 190.7 | 77.6 | 73.9 | 157.1 | 84.1 | 80.1 | 164.8
18:30 | 97.4 | 92.1 | 176.6 | 78.5 | 75.1 | 146.1 | 84.3 | 80.4 | 151.5
18:45 | 96.8 | 92.3 | 160.5 | 79.1 | 76 | 133.8 | 84.1 | 80.2 | 137
19:00 | 96.2 | 92.5 | 144.8 | 79.4 | 76.6 | 121.5 | 84.1 | 80.4 | 123.3
19:15 | 96.3 | 93.1 | 131.3 | 79.4 | 77.3 | 110.1 | 84.7 | 81.4 | 112.1
19:30 | 96.8 | 94 | 120.1 | 79.4 | 78.2 | 100.5 | 85.8 | 83.1 | 103.4
19:45 | 97.2 | 94.6 | 111.3 | 79.6 | 79.2 | 93.2 | 87.3 | 85.1 | 97.3
20:00 | 97.2 | 94.4 | 104.6 | 80.4 | 80.4 | 88.8 | 88.8 | 86.9 | 93.4
20:15 | 96.3 | 93 | 100 | 81.9 | 81.6 | 87.4 | 90.1 | 88.1 | 91.6
20:30 | 94.8 | 90.8 | 96.7 | 83.9 | 82.9 | 88.1 | 91.2 | 88.7 | 91.1
20:45 | 92.8 | 88 | 94.1 | 85.7 | 83.8 | 89.6 | 91.7 | 88.6 | 91.1
21:00 | 90.6 | 85 | 91.6 | 86.9 | 84.1 | 90.6 | 91.6 | 87.8 | 90.6
21:15 | 88.5 | 82.1 | 88.5 | 87 | 83.7 | 90.2 | 90.6 | 86.4 | 89.2
21:30 | 86.4 | 79.4 | 85.2 | 86.3 | 82.7 | 88.5 | 89 | 84.4 | 87.2
21:45 | 84.3 | 76.9 | 82.1 | 84.9 | 81.2 | 86.3 | 87.1 | 82 | 85
22:00 | 82.2 | 74.7 | 79.4 | 83.2 | 79.4 | 84.1 | 85 | 79.4 | 83.2
22:15 | 80.1 | 72.8 | 77.6 | 81.3 | 77.5 | 82.4 | 83.1 | 76.7 | 82.1
22:30 | 78 | 71.1 | 76.4 | 79.3 | 75.5 | 81.2 | 81.2 | 74.1 | 81.7
22:45 | 75.9 | 69.3 | 75.6 | 77.4 | 73.3 | 80.3 | 79.4 | 71.5 | 81.6
23:00 | 73.8 | 67.3 | 74.7 | 75.7 | 71 | 79.4 | 77.6 | 69.1 | 81.3
23:15 | 71.7 | 65 | 73.7 | 74.1 | 68.6 | 78.4 | 75.7 | 67 | 80.6
23:30 | 69.7 | 62.6 | 72.3 | 72.7 | 66.4 | 77.2 | 73.8 | 65.3 | 79.5
23:45 | 67.6 | 60.4 | 70.5 | 71.3 | 64.6 | 75.7 | 71.9 | 64.1 | 77.9
0:00 | 65.4 | 58.9 | 68.2 | 70.1 | 63.5 | 73.8 | 70.1 | 63.5 | 75.7
Viertelstunden-Leistungswerte für den Jahresverbrauch von 1.000 kWh/a

## Load_profiles_G0_scaled
| W_Samstag | W_Sonntag | W_Werktag | S_Samstag | S_Sonntag | S_Werktag | U_Samstag | U_Sonntag | U_Werktag
0:15 | 0.29118 | 0.2629 | 0.27246 | 0.31032 | 0.28619 | 0.29742 | 0.31531 | 0.28411 | 0.30366
0:30 | 0.30366 | 0.25374 | 0.2604 | 0.31697 | 0.28037 | 0.28702 | 0.31905 | 0.27662 | 0.2916
0:45 | 0.31572 | 0.24501 | 0.24792 | 0.32321 | 0.27329 | 0.27579 | 0.32321 | 0.26872 | 0.27912
1:00 | 0.3228 | 0.2371 | 0.2371 | 0.32654 | 0.26414 | 0.26414 | 0.32654 | 0.2604 | 0.2683
1:15 | 0.32072 | 0.23003 | 0.22795 | 0.32404 | 0.25333 | 0.25333 | 0.32654 | 0.25083 | 0.25915
1:30 | 0.31198 | 0.22338 | 0.22088 | 0.31739 | 0.24126 | 0.24376 | 0.32363 | 0.24085 | 0.25208
1:45 | 0.29992 | 0.21672 | 0.21506 | 0.30824 | 0.23045 | 0.23544 | 0.31864 | 0.23087 | 0.24626
2:00 | 0.28744 | 0.21007 | 0.21007 | 0.29908 | 0.22171 | 0.2292 | 0.31073 | 0.22171 | 0.24085
2:15 | 0.27787 | 0.20258 | 0.20549 | 0.29201 | 0.21631 | 0.22546 | 0.302 | 0.21298 | 0.23586
2:30 | 0.2708 | 0.19509 | 0.20175 | 0.28661 | 0.21381 | 0.22338 | 0.29285 | 0.20591 | 0.23128
2:45 | 0.26664 | 0.18802 | 0.19925 | 0.28245 | 0.21215 | 0.22213 | 0.28494 | 0.19967 | 0.22754
3:00 | 0.26414 | 0.18261 | 0.19842 | 0.27995 | 0.21007 | 0.22171 | 0.27995 | 0.19426 | 0.22546
3:15 | 0.26373 | 0.17887 | 0.19925 | 0.27829 | 0.20632 | 0.22088 | 0.2787 | 0.1901 | 0.22504
3:30 | 0.26456 | 0.17679 | 0.20258 | 0.27745 | 0.20175 | 0.2213 | 0.28078 | 0.18677 | 0.22712
3:45 | 0.26622 | 0.17554 | 0.20882 | 0.27787 | 0.19759 | 0.22504 | 0.28411 | 0.18428 | 0.23211
4:00 | 0.2683 | 0.17471 | 0.21755 | 0.27995 | 0.19426 | 0.23336 | 0.28744 | 0.18261 | 0.24085
4:15 | 0.27038 | 0.17429 | 0.2292 | 0.28286 | 0.19301 | 0.24709 | 0.28993 | 0.18136 | 0.25333
4:30 | 0.27288 | 0.17388 | 0.2421 | 0.28702 | 0.19343 | 0.26331 | 0.2916 | 0.18095 | 0.26789
4:45 | 0.27579 | 0.17388 | 0.25458 | 0.29118 | 0.19384 | 0.27953 | 0.29326 | 0.18136 | 0.28286
5:00 | 0.27995 | 0.17471 | 0.26414 | 0.29534 | 0.19426 | 0.2916 | 0.29534 | 0.18261 | 0.29534
5:15 | 0.28494 | 0.1772 | 0.27038 | 0.29867 | 0.19384 | 0.297 | 0.29867 | 0.18511 | 0.30449
5:30 | 0.29077 | 0.18053 | 0.27454 | 0.30116 | 0.1926 | 0.29784 | 0.30158 | 0.1876 | 0.31073
5:45 | 0.297 | 0.18469 | 0.27912 | 0.30283 | 0.19135 | 0.29617 | 0.30366 | 0.18968 | 0.31489
6:00 | 0.30324 | 0.19052 | 0.28744 | 0.30324 | 0.19052 | 0.29534 | 0.30324 | 0.19052 | 0.31864
6:15 | 0.30948 | 0.19717 | 0.30158 | 0.30366 | 0.19093 | 0.29742 | 0.30033 | 0.18968 | 0.32321
6:30 | 0.31947 | 0.20383 | 0.32072 | 0.3074 | 0.1926 | 0.30408 | 0.30033 | 0.18844 | 0.32987
6:45 | 0.33694 | 0.20965 | 0.34484 | 0.3203 | 0.19634 | 0.31572 | 0.30948 | 0.18802 | 0.34068
7:00 | 0.36522 | 0.21381 | 0.37313 | 0.34609 | 0.20216 | 0.33444 | 0.33444 | 0.19052 | 0.35774
7:15 | 0.40765 | 0.21547 | 0.40599 | 0.3881 | 0.21007 | 0.36023 | 0.37854 | 0.19634 | 0.38228
7:30 | 0.46048 | 0.21506 | 0.44634 | 0.44176 | 0.2188 | 0.39559 | 0.4376 | 0.20424 | 0.41764
7:45 | 0.51913 | 0.21298 | 0.49875 | 0.50125 | 0.22587 | 0.44218 | 0.50416 | 0.21215 | 0.46547
8:00 | 0.57903 | 0.21007 | 0.56739 | 0.55948 | 0.2292 | 0.50125 | 0.57155 | 0.21755 | 0.5287
8:15 | 0.63644 | 0.20632 | 0.65349 | 0.61231 | 0.22795 | 0.57321 | 0.6327 | 0.21963 | 0.60691
8:30 | 0.68802 | 0.20383 | 0.74667 | 0.65641 | 0.22421 | 0.65017 | 0.68594 | 0.22005 | 0.69135
8:45 | 0.7317 | 0.203 | 0.83403 | 0.69135 | 0.2213 | 0.7213 | 0.72837 | 0.22088 | 0.77038
9:00 | 0.76581 | 0.20591 | 0.90183 | 0.71506 | 0.22171 | 0.77745 | 0.7579 | 0.22546 | 0.83195
9:15 | 0.78827 | 0.21339 | 0.94093 | 0.72795 | 0.22754 | 0.81115 | 0.77413 | 0.23461 | 0.8673
9:30 | 0.802 | 0.22379 | 0.95674 | 0.73253 | 0.23794 | 0.82654 | 0.77995 | 0.2475 | 0.88228
9:45 | 0.81156 | 0.23627 | 0.9584 | 0.73336 | 0.24958 | 0.83111 | 0.78078 | 0.26082 | 0.88436
10:00 | 0.81988 | 0.24875 | 0.95632 | 0.73461 | 0.2604 | 0.83195 | 0.7812 | 0.27205 | 0.88228
10:15 | 0.83111 | 0.2604 | 0.95674 | 0.73918 | 0.2683 | 0.83444 | 0.78494 | 0.27953 | 0.8827
10:30 | 0.84318 | 0.2708 | 0.96173 | 0.74626 | 0.27413 | 0.83985 | 0.79077 | 0.28494 | 0.88644
10:45 | 0.85441 | 0.27953 | 0.96922 | 0.75416 | 0.2787 | 0.84692 | 0.79825 | 0.28952 | 0.89268
11:00 | 0.86273 | 0.28744 | 0.97962 | 0.76165 | 0.28369 | 0.85524 | 0.80449 | 0.29534 | 0.90183
11:15 | 0.86689 | 0.29451 | 0.99043 | 0.76705 | 0.28993 | 0.86356 | 0.80907 | 0.30408 | 0.91181
11:30 | 0.86647 | 0.30033 | 0.99834 | 0.77038 | 0.297 | 0.8698 | 0.81156 | 0.31448 | 0.92013
11:45 | 0.86273 | 0.30574 | 1 | 0.7708 | 0.30449 | 0.87188 | 0.8124 | 0.32529 | 0.92346
12:00 | 0.85524 | 0.31073 | 0.99126 | 0.76955 | 0.31073 | 0.86689 | 0.8124 | 0.33444 | 0.91722
12:15 | 0.84443 | 0.31614 | 0.96922 | 0.76581 | 0.31614 | 0.85316 | 0.81073 | 0.34068 | 0.89975
12:30 | 0.8307 | 0.32155 | 0.93636 | 0.75874 | 0.3203 | 0.83195 | 0.80657 | 0.34443 | 0.87271
12:45 | 0.81364 | 0.32612 | 0.89725 | 0.7475 | 0.32363 | 0.80616 | 0.79742 | 0.34609 | 0.83985
13:00 | 0.79285 | 0.33028 | 0.85524 | 0.73087 | 0.32654 | 0.77745 | 0.7812 | 0.34609 | 0.80449
13:15 | 0.76789 | 0.33319 | 0.81406 | 0.70757 | 0.32903 | 0.74834 | 0.75666 | 0.34443 | 0.76955
13:30 | 0.73835 | 0.33486 | 0.77662 | 0.67845 | 0.3307 | 0.7213 | 0.72421 | 0.34151 | 0.73794
13:45 | 0.70258 | 0.33403 | 0.74542 | 0.64309 | 0.32987 | 0.69925 | 0.68552 | 0.33652 | 0.7109
14:00 | 0.66057 | 0.33028 | 0.72296 | 0.60233 | 0.32654 | 0.68386 | 0.64143 | 0.33028 | 0.69176
14:15 | 0.61231 | 0.32363 | 0.71131 | 0.55699 | 0.31947 | 0.67804 | 0.59318 | 0.32238 | 0.68178
14:30 | 0.56073 | 0.31489 | 0.71007 | 0.5104 | 0.30948 | 0.68012 | 0.54451 | 0.31323 | 0.68053
14:45 | 0.5104 | 0.30532 | 0.71839 | 0.46589 | 0.29867 | 0.68802 | 0.49834 | 0.30408 | 0.68677
15:00 | 0.46631 | 0.29534 | 0.73461 | 0.42762 | 0.28744 | 0.69967 | 0.45882 | 0.29534 | 0.69967
15:15 | 0.43178 | 0.28661 | 0.75749 | 0.39809 | 0.27787 | 0.71339 | 0.4272 | 0.28785 | 0.71755
15:30 | 0.40516 | 0.2787 | 0.78286 | 0.37604 | 0.26955 | 0.72629 | 0.40308 | 0.2812 | 0.73752
15:45 | 0.38519 | 0.27121 | 0.80657 | 0.3594 | 0.26248 | 0.7371 | 0.38311 | 0.27496 | 0.75458
16:00 | 0.36938 | 0.26414 | 0.82404 | 0.34609 | 0.25666 | 0.74251 | 0.36522 | 0.2683 | 0.76581
16:15 | 0.35607 | 0.2579 | 0.83236 | 0.33403 | 0.25125 | 0.74126 | 0.34775 | 0.26123 | 0.76747
16:30 | 0.34651 | 0.25458 | 0.83486 | 0.32363 | 0.24834 | 0.73544 | 0.33153 | 0.25582 | 0.76373
16:45 | 0.34276 | 0.25707 | 0.83569 | 0.31572 | 0.24834 | 0.72837 | 0.31988 | 0.25458 | 0.75749
17:00 | 0.34609 | 0.2683 | 0.83943 | 0.31073 | 0.2525 | 0.72296 | 0.31489 | 0.2604 | 0.75416
17:15 | 0.35691 | 0.2891 | 0.84859 | 0.30948 | 0.26206 | 0.72047 | 0.31822 | 0.27413 | 0.75499
17:30 | 0.3723 | 0.31614 | 0.85607 | 0.31115 | 0.27454 | 0.71714 | 0.32696 | 0.29285 | 0.75582
17:45 | 0.38852 | 0.34359 | 0.85483 | 0.31448 | 0.28785 | 0.70799 | 0.33735 | 0.31198 | 0.74875
18:00 | 0.40017 | 0.36522 | 0.83569 | 0.31864 | 0.29908 | 0.68802 | 0.34609 | 0.32654 | 0.72671
18:15 | 0.40516 | 0.3777 | 0.79326 | 0.3228 | 0.3074 | 0.65349 | 0.34983 | 0.33319 | 0.68552
18:30 | 0.40516 | 0.38311 | 0.73461 | 0.32654 | 0.3124 | 0.60774 | 0.35067 | 0.33444 | 0.6302
18:45 | 0.40266 | 0.38394 | 0.66764 | 0.32903 | 0.31614 | 0.55657 | 0.34983 | 0.33361 | 0.56988
19:00 | 0.40017 | 0.38478 | 0.60233 | 0.33028 | 0.31864 | 0.50541 | 0.34983 | 0.33444 | 0.5129
19:15 | 0.40058 | 0.38727 | 0.54617 | 0.33028 | 0.32155 | 0.45799 | 0.35233 | 0.3386 | 0.46631
19:30 | 0.40266 | 0.39101 | 0.49958 | 0.33028 | 0.32529 | 0.41805 | 0.35691 | 0.34567 | 0.43012
19:45 | 0.40433 | 0.39351 | 0.46298 | 0.33111 | 0.32945 | 0.38769 | 0.36314 | 0.35399 | 0.40474
20:00 | 0.40433 | 0.39268 | 0.43511 | 0.33444 | 0.33444 | 0.36938 | 0.36938 | 0.36148 | 0.38852
20:15 | 0.40058 | 0.38686 | 0.41597 | 0.34068 | 0.33943 | 0.36356 | 0.37479 | 0.36647 | 0.38103
20:30 | 0.39434 | 0.3777 | 0.40225 | 0.349 | 0.34484 | 0.36647 | 0.37937 | 0.36897 | 0.37895
20:45 | 0.38602 | 0.36606 | 0.39143 | 0.35649 | 0.34859 | 0.37271 | 0.38145 | 0.36855 | 0.37895
21:00 | 0.37687 | 0.35358 | 0.38103 | 0.36148 | 0.34983 | 0.37687 | 0.38103 | 0.36522 | 0.37687
21:15 | 0.36814 | 0.34151 | 0.36814 | 0.3619 | 0.34817 | 0.37521 | 0.37687 | 0.3594 | 0.37105
21:30 | 0.3594 | 0.33028 | 0.35441 | 0.35899 | 0.34401 | 0.36814 | 0.37022 | 0.35108 | 0.36273
21:45 | 0.35067 | 0.31988 | 0.34151 | 0.35316 | 0.33777 | 0.35899 | 0.36231 | 0.3411 | 0.35358
22:00 | 0.34193 | 0.31073 | 0.33028 | 0.34609 | 0.33028 | 0.34983 | 0.35358 | 0.33028 | 0.34609
22:15 | 0.33319 | 0.30283 | 0.3228 | 0.33819 | 0.32238 | 0.34276 | 0.34567 | 0.31905 | 0.34151
22:30 | 0.32446 | 0.29576 | 0.3178 | 0.32987 | 0.31406 | 0.33777 | 0.33777 | 0.30824 | 0.33985
22:45 | 0.31572 | 0.28827 | 0.31448 | 0.32196 | 0.30491 | 0.33403 | 0.33028 | 0.29742 | 0.33943
23:00 | 0.30699 | 0.27995 | 0.31073 | 0.31489 | 0.29534 | 0.33028 | 0.3228 | 0.28744 | 0.33819
23:15 | 0.29825 | 0.27038 | 0.30657 | 0.30824 | 0.28536 | 0.32612 | 0.31489 | 0.2787 | 0.33527
23:30 | 0.28993 | 0.2604 | 0.30075 | 0.30241 | 0.27621 | 0.32113 | 0.30699 | 0.27163 | 0.3307
23:45 | 0.2812 | 0.25125 | 0.29326 | 0.29659 | 0.26872 | 0.31489 | 0.29908 | 0.26664 | 0.32404
0:00 | 0.27205 | 0.24501 | 0.28369 | 0.2916 | 0.26414 | 0.30699 | 0.2916 | 0.26414 | 0.31489

## MV_DER
| bus | p_mw | q_mvar | sn_mva | name | type
0 | 1 | 10 | 0 | 10 | PV 1 | PV
1 | 1 | 12 | 0 | 12 | WKA 1 | WP
2 | 3 | 0.15 | 0 | 0.15 | PV 3 | PV
3 | 4 | 0.3 | 0 | 0.3 | PV 4 | PV
4 | 8 | 0.15 | 0 | 0.15 | PV 8 | PV
5 | 9 | 0.45 | 0 | 0.45 | PV 9 | PV
6 | 11 | 0.3 | 0 | 0.3 | PV 11 | PV
7 | 7 | 3 | 0 | 3 | WKA 7 | WP
8 | 12 | 15 | 0 | 15 | PV 12 | PV
9 | 12 | 12 | 0 | 12 | WKA 12 | WP

## LV_DER
| bus | p_mw | q_mvar | sn_mva | name | type
0 | 2 | 0.1 | 0 | 0.1 | PV R1 | PV
1 | 12 | 0.03 | 0 | 0.03 | PV R11 | PV
2 | 16 | 0.03 | 0 | 0.03 | PV R15 | PV
3 | 17 | 0.03 | 0 | 0.03 | PV R16 | PV
4 | 18 | 0.05 | 0 | 0.05 | PV R17 | PV
5 | 19 | 0.05 | 0 | 0.05 | PV R18 | PV

## Sgen_profiles_PV
Generation in MWh
Time | Winter |  |  | Sommer |  |  | Übergangszeit
| W_Samstag | W_Sonntag | W_Werktag | S_Samstag | S_Sonntag | S_Werktag | U_Samstag | U_Sonntag | U_Werktag
0:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4:45 | 0 | 0 | 0 | 0 | 0 | 0.75 | 0 | 0 | 0
5:00 | 0 | 0 | 0 | 0 | 0.75 | 1.5 | 0 | 0 | 0
5:15 | 0 | 0 | 0 | 0 | 4.75 | 13.25 | 0 | 0 | 0
5:30 | 0 | 0 | 0 | 0 | 25.25 | 38.5 | 0 | 0 | 0
5:45 | 0 | 0 | 0 | 0 | 54 | 76.5 | 0 | 0 | 0
6:00 | 0 | 0 | 0 | 0 | 91.5 | 160.25 | 0 | 0 | 25
6:15 | 0 | 0 | 0 | 0 | 163.25 | 283.75 | 175 | 300 | 700
6:30 | 0 | 0 | 0 | 0 | 272.25 | 455 | 1900 | 2425 | 3375
6:45 | 0 | 0 | 0 | 0 | 416.75 | 679.75 | 5500 | 8425 | 11700
7:00 | 0 | 0 | 0 | 0 | 577.5 | 962.25 | 13950 | 23775 | 29125
7:15 | 0 | 0 | 0 | 0 | 760 | 1304.5 | 29250 | 48925 | 53900
7:30 | 0 | 0 | 0 | 0 | 949.75 | 1691 | 50450 | 83500 | 85300
7:45 | 0 | 0 | 0 | 0 | 1154.25 | 2117.5 | 75700 | 1.2572 | 1.2155
8:00 | 0 | 0 | 0.25 | 0 | 1386.5 | 2600.75 | 1.042 | 1.7332 | 1.6218
8:15 | 1.25 | 125 | 2.75 | 2.25 | 1639.25 | 3112.25 | 1.3802 | 2.23 | 2.0703
8:30 | 7.5 | 1575 | 25.5 | 18 | 1918 | 3628 | 1.7315 | 2.7767 | 2.5455
8:45 | 40.5 | 8425 | 113.75 | 72.5 | 2257.5 | 4127.25 | 2.101 | 3.3558 | 3.043
9:00 | 107.75 | 20825 | 227 | 161.25 | 2578 | 4618.5 | 2.4697 | 3.9345 | 3.5362
9:15 | 208.5 | 36975 | 361.5 | 281.75 | 2854.25 | 5072.25 | 2.8515 | 4.5077 | 4.0325
9:30 | 317.75 | 56025 | 508.5 | 416.75 | 3134.5 | 5530.75 | 3.2572 | 5.021 | 4.4843
9:45 | 425 | 75075 | 669.5 | 558.75 | 3421.5 | 5950.5 | 3.6637 | 5.5302 | 4.9225
10:00 | 541.75 | 94600 | 821 | 701 | 3781.5 | 6383.25 | 4.101 | 5.992 | 5.3475
10:15 | 667.75 | 1.1325 | 977.75 | 855.75 | 4072 | 6727.75 | 4.5335 | 6.436 | 5.7588
10:30 | 802.5 | 1.3702 | 1134.75 | 1005.5 | 4273 | 7017.25 | 4.9502 | 6.8525 | 6.155
10:45 | 951.5 | 1.6293 | 1310.25 | 1138.5 | 4500 | 7219 | 5.3548 | 7.2165 | 6.5005
11:00 | 1100.25 | 1.8173 | 1470.25 | 1258.5 | 4671 | 7413.25 | 5.7257 | 7.589 | 6.806
11:15 | 1281 | 1.9683 | 1594.75 | 1365.5 | 4834 | 7519.75 | 6.0765 | 7.8935 | 7.0918
11:30 | 1433.25 | 2.0648 | 1652 | 1456 | 4978.25 | 7593.75 | 6.4493 | 8.1512 | 7.3632
11:45 | 1579.75 | 2.115 | 1702.25 | 1529.75 | 5143.75 | 7588.75 | 6.7568 | 8.3902 | 7.5587
12:00 | 1720.5 | 2.0897 | 1733.5 | 1578.5 | 5282 | 7669.75 | 7.0062 | 8.568 | 7.6857
12:15 | 1807.25 | 2.0572 | 1816 | 1596.75 | 5459.75 | 7689 | 7.2237 | 8.6852 | 7.807
12:30 | 1766.25 | 2.028 | 1846.25 | 1605.75 | 5469.75 | 7723 | 7.4417 | 8.7613 | 7.8768
12:45 | 1721.75 | 1.9618 | 1859.25 | 1578 | 5529 | 7743 | 7.6448 | 8.8163 | 7.907
13:00 | 1646.5 | 1.906 | 1782.5 | 1539 | 5610 | 7719.25 | 7.8308 | 8.8995 | 7.9065
13:15 | 1597.25 | 1.8567 | 1689.75 | 1499.75 | 5734.75 | 7705.5 | 7.9783 | 8.868 | 7.8548
13:30 | 1509.75 | 1.7648 | 1561.75 | 1443.25 | 5842 | 7713 | 8.0623 | 8.8737 | 7.8048
13:45 | 1408.75 | 1.6783 | 1425.5 | 1365.25 | 5934.25 | 7714 | 8.102 | 8.8298 | 7.7348
14:00 | 1262.5 | 1.5425 | 1279.25 | 1264.5 | 5916.5 | 7691.25 | 8.1245 | 8.7383 | 7.6465
14:15 | 1090.75 | 1.3707 | 1137.5 | 1150.75 | 5976.25 | 7717.25 | 8.1163 | 8.566 | 7.5465
14:30 | 912 | 1.198 | 984 | 1030.75 | 5995.25 | 7664.75 | 8.0757 | 8.4302 | 7.4015
14:45 | 743.75 | 1.0272 | 799.75 | 903 | 5873.25 | 7573.75 | 8.0463 | 8.2052 | 7.2382
15:00 | 605 | 81400 | 641.25 | 766 | 5790.5 | 7442 | 7.9517 | 8.0165 | 7.084
15:15 | 467.5 | 62325 | 481.5 | 624.25 | 5730.75 | 7267 | 7.8158 | 7.8027 | 6.9085
15:30 | 325 | 43200 | 329.25 | 491.25 | 5609.25 | 7050.5 | 7.6072 | 7.6015 | 6.6655
15:45 | 197.5 | 26175 | 195 | 356.25 | 5515.75 | 6860.5 | 7.386 | 7.3415 | 6.4065
16:00 | 88.75 | 11575 | 89.5 | 229.75 | 5337 | 6627.5 | 7.0992 | 7.046 | 6.1147
16:15 | 26.5 | 3500 | 31.25 | 118.5 | 5150.25 | 6385.5 | 6.7992 | 6.6825 | 5.7605
16:30 | 2.75 | 475 | 6 | 47.75 | 4991.5 | 6136.5 | 6.4333 | 6.3375 | 5.3755
16:45 | 0.25 | 25 | 0.5 | 13.25 | 4814.25 | 5787.5 | 6.038 | 5.9262 | 5.0042
17:00 | 0 | 0 | 0 | 1.75 | 4513.25 | 5423.75 | 5.5883 | 5.4815 | 4.635
17:15 | 0 | 0 | 0 | 0.25 | 4232 | 5091.25 | 5.0905 | 5.0152 | 4.2265
17:30 | 0 | 0 | 0 | 0 | 3917 | 4701 | 4.5485 | 4.5137 | 3.7858
17:45 | 0 | 0 | 0 | 0 | 3614 | 4308.25 | 3.9995 | 3.9583 | 3.303
18:00 | 0 | 0 | 0 | 0 | 3246.25 | 3899.25 | 3.4205 | 3.3847 | 2.824
18:15 | 0 | 0 | 0 | 0 | 2826.5 | 3493.5 | 2.8392 | 2.8285 | 2.3577
18:30 | 0 | 0 | 0 | 0 | 2487 | 3082.25 | 2.2818 | 2.281 | 1.9325
18:45 | 0 | 0 | 0 | 0 | 2124.25 | 2639.5 | 1.7335 | 1.7508 | 1.5225
19:00 | 0 | 0 | 0 | 0 | 1744.75 | 2209 | 1.2532 | 1.2677 | 1.1522
19:15 | 0 | 0 | 0 | 0 | 1407.5 | 1815.5 | 84975 | 86125 | 83175
19:30 | 0 | 0 | 0 | 0 | 1104.25 | 1455.5 | 53625 | 54625 | 56300
19:45 | 0 | 0 | 0 | 0 | 859.75 | 1151.5 | 31325 | 32100 | 34725
20:00 | 0 | 0 | 0 | 0 | 640.25 | 901 | 14475 | 15225 | 18075
20:15 | 0 | 0 | 0 | 0 | 448.75 | 669 | 4000 | 4325 | 7000
20:30 | 0 | 0 | 0 | 0 | 283.75 | 478.5 | 700 | 750 | 1525
20:45 | 0 | 0 | 0 | 0 | 154 | 314.75 | 75 | 75 | 175
21:00 | 0 | 0 | 0 | 0 | 62.75 | 180 | 0 | 25 | 25
21:15 | 0 | 0 | 0 | 0 | 15.75 | 85 | 0 | 0 | 0
21:30 | 0 | 0 | 0 | 0 | 2 | 29.5 | 0 | 0 | 0
21:45 | 0 | 0 | 0 | 0 | 0 | 7.75 | 0 | 0 | 0
22:00 | 0 | 0 | 0 | 0 | 0 | 1.25 | 0 | 0 | 0
22:15 | 0 | 0 | 0 | 0 | 0 | 0.25 | 0 | 0 | 0
22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Sgen_profiles_PV_scaled
Time | W_Samstag | W_Sonntag | W_Werktag | S_Samstag | S_Sonntag | S_Werktag | U_Samstag | U_Sonntag | U_Werktag
0:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4:45 | 0 | 0 | 0 | 0 | 0 | 7.9281e-06 | 0 | 0 | 0
5:00 | 0 | 0 | 0 | 0 | 7.9281e-06 | 1.5856e-05 | 0 | 0 | 0
5:15 | 0 | 0 | 0 | 0 | 5.0211e-05 | 0.00014006 | 0 | 0 | 0
5:30 | 0 | 0 | 0 | 0 | 0.00026691 | 0.00040698 | 0 | 0 | 0
5:45 | 0 | 0 | 0 | 0 | 0.00057082 | 0.00080867 | 0 | 0 | 0
6:00 | 0 | 0 | 0 | 0 | 0.00096723 | 0.001694 | 0 | 0 | 0.00026427
6:15 | 0 | 0 | 0 | 0 | 0.0017257 | 0.0029995 | 0.0018499 | 0.0031712 | 0.0073996
6:30 | 0 | 0 | 0 | 0 | 0.0028779 | 0.0048097 | 0.020085 | 0.025634 | 0.035677
6:45 | 0 | 0 | 0 | 0 | 0.0044054 | 0.0071855 | 0.05814 | 0.089059 | 0.12368
7:00 | 0 | 0 | 0 | 0 | 0.0061047 | 0.010172 | 0.14746 | 0.25132 | 0.30788
7:15 | 0 | 0 | 0 | 0 | 0.0080338 | 0.01379 | 0.3092 | 0.51718 | 0.56977
7:30 | 0 | 0 | 0 | 0 | 0.01004 | 0.017875 | 0.5333 | 0.88266 | 0.90169
7:45 | 0 | 0 | 0 | 0 | 0.012201 | 0.022384 | 0.80021 | 1.329e-05 | 1.2849e-05
8:00 | 0 | 0 | 2.6427e-06 | 0 | 0.014656 | 0.027492 | 1.1015e-05 | 1.8322e-05 | 1.7143e-05
8:15 | 1.3214e-05 | 0.0013214 | 2.907e-05 | 2.3784e-05 | 0.017328 | 0.032899 | 1.459e-05 | 2.3573e-05 | 2.1884e-05
8:30 | 7.9281e-05 | 0.016649 | 0.00026956 | 0.00019027 | 0.020275 | 0.038351 | 1.8303e-05 | 2.9353e-05 | 2.6908e-05
8:45 | 0.00042812 | 0.089059 | 0.0012024 | 0.00076638 | 0.023864 | 0.043628 | 2.2209e-05 | 3.5473e-05 | 3.2167e-05
9:00 | 0.001139 | 0.22014 | 0.0023996 | 0.0017045 | 0.027252 | 0.048821 | 2.6107e-05 | 4.1591e-05 | 3.7381e-05
9:15 | 0.002204 | 0.39086 | 0.0038214 | 0.0029783 | 0.030172 | 0.053618 | 3.0143e-05 | 4.7651e-05 | 4.2627e-05
9:30 | 0.0033589 | 0.59223 | 0.0053753 | 0.0044054 | 0.033134 | 0.058465 | 3.4432e-05 | 5.3076e-05 | 4.7402e-05
9:45 | 0.0044926 | 0.7936 | 0.0070772 | 0.0059064 | 0.036168 | 0.062902 | 3.8729e-05 | 5.8459e-05 | 5.2035e-05
10:00 | 0.0057267 | 1 | 0.0086786 | 0.0074101 | 0.039974 | 0.067476 | 4.3351e-05 | 6.334e-05 | 5.6527e-05
10:15 | 0.0070587 | 1.1971e-05 | 0.010336 | 0.009046 | 0.043044 | 0.071118 | 4.7923e-05 | 6.8034e-05 | 6.0875e-05
10:30 | 0.0084831 | 1.4485e-05 | 0.011995 | 0.010629 | 0.045169 | 0.074178 | 5.2328e-05 | 7.2437e-05 | 6.5063e-05
10:45 | 0.010058 | 1.7223e-05 | 0.01385 | 0.012035 | 0.047569 | 0.076311 | 5.6604e-05 | 7.6284e-05 | 6.8716e-05
11:00 | 0.011631 | 1.921e-05 | 0.015542 | 0.013303 | 0.049376 | 0.078364 | 6.0526e-05 | 8.0222e-05 | 7.1945e-05
11:15 | 0.013541 | 2.0806e-05 | 0.016858 | 0.014434 | 0.051099 | 0.07949 | 6.4234e-05 | 8.3441e-05 | 7.4966e-05
11:30 | 0.015151 | 2.1826e-05 | 0.017463 | 0.015391 | 0.052624 | 0.080272 | 6.8174e-05 | 8.6165e-05 | 7.7836e-05
11:45 | 0.016699 | 2.2357e-05 | 0.017994 | 0.016171 | 0.054374 | 0.080219 | 7.1424e-05 | 8.8692e-05 | 7.9902e-05
12:00 | 0.018187 | 2.209e-05 | 0.018325 | 0.016686 | 0.055835 | 0.081076 | 7.4062e-05 | 9.0571e-05 | 8.1245e-05
12:15 | 0.019104 | 2.1747e-05 | 0.019197 | 0.016879 | 0.057714 | 0.081279 | 7.6361e-05 | 9.181e-05 | 8.2526e-05
12:30 | 0.018671 | 2.1438e-05 | 0.019516 | 0.016974 | 0.05782 | 0.081638 | 7.8665e-05 | 9.2614e-05 | 8.3264e-05
12:45 | 0.0182 | 2.0737e-05 | 0.019654 | 0.016681 | 0.058446 | 0.08185 | 8.0811e-05 | 9.3195e-05 | 8.3584e-05
13:00 | 0.017405 | 2.0148e-05 | 0.018842 | 0.016268 | 0.059302 | 0.081599 | 8.2777e-05 | 9.4075e-05 | 8.3578e-05
13:15 | 0.016884 | 1.9627e-05 | 0.017862 | 0.015854 | 0.060621 | 0.081453 | 8.4337e-05 | 9.3742e-05 | 8.3031e-05
13:30 | 0.015959 | 1.8655e-05 | 0.016509 | 0.015256 | 0.061755 | 0.081533 | 8.5225e-05 | 9.3803e-05 | 8.2503e-05
13:45 | 0.014892 | 1.774e-05 | 0.015069 | 0.014432 | 0.06273 | 0.081543 | 8.5645e-05 | 9.3338e-05 | 8.1763e-05
14:00 | 0.013346 | 1.6305e-05 | 0.013523 | 0.013367 | 0.062542 | 0.081303 | 8.5883e-05 | 9.2371e-05 | 8.083e-05
14:15 | 0.01153 | 1.449e-05 | 0.012024 | 0.012164 | 0.063174 | 0.081578 | 8.5795e-05 | 9.055e-05 | 7.9773e-05
14:30 | 0.0096406 | 1.2664e-05 | 0.010402 | 0.010896 | 0.063375 | 0.081023 | 8.5367e-05 | 8.9115e-05 | 7.824e-05
14:45 | 0.0078621 | 1.0859e-05 | 0.008454 | 0.0095455 | 0.062085 | 0.080061 | 8.5055e-05 | 8.6736e-05 | 7.6514e-05
15:00 | 0.0063953 | 0.86047 | 0.0067785 | 0.0080973 | 0.06121 | 0.078668 | 8.4057e-05 | 8.4741e-05 | 7.4884e-05
15:15 | 0.0049419 | 0.65883 | 0.0050899 | 0.0065988 | 0.060579 | 0.076818 | 8.2619e-05 | 8.2482e-05 | 7.3029e-05
15:30 | 0.0034355 | 0.45666 | 0.0034804 | 0.0051929 | 0.059294 | 0.07453 | 8.0415e-05 | 8.0354e-05 | 7.046e-05
15:45 | 0.0020877 | 0.27669 | 0.0020613 | 0.0037659 | 0.058306 | 0.072521 | 7.8076e-05 | 7.7606e-05 | 6.7722e-05
16:00 | 0.00093816 | 0.12236 | 0.00094609 | 0.0024286 | 0.056416 | 0.070058 | 7.5045e-05 | 7.4482e-05 | 6.4638e-05
16:15 | 0.00028013 | 0.036998 | 0.00033034 | 0.0012526 | 0.054442 | 0.0675 | 7.1874e-05 | 7.064e-05 | 6.0893e-05
16:30 | 2.907e-05 | 0.0050211 | 6.3425e-05 | 0.00050476 | 0.052764 | 0.064868 | 6.8005e-05 | 6.6993e-05 | 5.6823e-05
16:45 | 2.6427e-06 | 0.00026427 | 5.2854e-06 | 0.00014006 | 0.050891 | 0.061179 | 6.3827e-05 | 6.2645e-05 | 5.2899e-05
17:00 | 0 | 0 | 0 | 1.8499e-05 | 0.047709 | 0.057334 | 5.9072e-05 | 5.7944e-05 | 4.8996e-05
17:15 | 0 | 0 | 0 | 2.6427e-06 | 0.044736 | 0.053819 | 5.3811e-05 | 5.3015e-05 | 4.4678e-05
17:30 | 0 | 0 | 0 | 0 | 0.041406 | 0.049693 | 4.8081e-05 | 4.7714e-05 | 4.0018e-05
17:45 | 0 | 0 | 0 | 0 | 0.038203 | 0.045542 | 4.2278e-05 | 4.1842e-05 | 3.4915e-05
18:00 | 0 | 0 | 0 | 0 | 0.034316 | 0.041218 | 3.6158e-05 | 3.578e-05 | 2.9852e-05
18:15 | 0 | 0 | 0 | 0 | 0.029878 | 0.036929 | 3.0013e-05 | 2.99e-05 | 2.4923e-05
18:30 | 0 | 0 | 0 | 0 | 0.02629 | 0.032582 | 2.412e-05 | 2.4112e-05 | 2.0428e-05
18:45 | 0 | 0 | 0 | 0 | 0.022455 | 0.027902 | 1.8325e-05 | 1.8507e-05 | 1.6094e-05
19:00 | 0 | 0 | 0 | 0 | 0.018443 | 0.023351 | 1.3248e-05 | 1.3401e-05 | 1.218e-05
19:15 | 0 | 0 | 0 | 0 | 0.014878 | 0.019191 | 0.89826 | 0.91041 | 0.87923
19:30 | 0 | 0 | 0 | 0 | 0.011673 | 0.015386 | 0.56686 | 0.57743 | 0.59514
19:45 | 0 | 0 | 0 | 0 | 0.0090883 | 0.012172 | 0.33113 | 0.33932 | 0.36707
20:00 | 0 | 0 | 0 | 0 | 0.006768 | 0.0095243 | 0.15301 | 0.16094 | 0.19107
20:15 | 0 | 0 | 0 | 0 | 0.0047437 | 0.0070719 | 0.042283 | 0.045719 | 0.073996
20:30 | 0 | 0 | 0 | 0 | 0.0029995 | 0.0050581 | 0.0073996 | 0.0079281 | 0.016121
20:45 | 0 | 0 | 0 | 0 | 0.0016279 | 0.0033272 | 0.00079281 | 0.00079281 | 0.0018499
21:00 | 0 | 0 | 0 | 0 | 0.00066332 | 0.0019027 | 0 | 0.00026427 | 0.00026427
21:15 | 0 | 0 | 0 | 0 | 0.00016649 | 0.00089852 | 0 | 0 | 0
21:30 | 0 | 0 | 0 | 0 | 2.1142e-05 | 0.00031184 | 0 | 0 | 0
21:45 | 0 | 0 | 0 | 0 | 0 | 8.1924e-05 | 0 | 0 | 0
22:00 | 0 | 0 | 0 | 0 | 0 | 1.3214e-05 | 0 | 0 | 0
22:15 | 0 | 0 | 0 | 0 | 0 | 2.6427e-06 | 0 | 0 | 0
22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Sgen_profiles_WP
Generation in MWh
Time | Winter |  |  | Sommer |  |  | Übergangszeit
| W_Samstag | W_Sonntag | W_Werktag | S_Samstag | S_Sonntag | S_Werktag | U_Samstag | U_Sonntag | U_Werktag
0:15 | 4969.25 | 2683 | 7436.5 | 1471.75 | 2146.5 | 3229.25 | 3540 | 5613.25 | 2514.75
0:30 | 5020.25 | 2669 | 7449.75 | 1493.75 | 2091 | 3130.25 | 3635.5 | 5617.25 | 2508.5
0:45 | 5089.5 | 2637.25 | 7309 | 1534.5 | 2042.75 | 3090.75 | 3706 | 5545.25 | 2451
1:00 | 4953.5 | 2566 | 7268.25 | 1648.25 | 1913.25 | 2983.75 | 3769.5 | 5500 | 2445.5
1:15 | 4930.25 | 2481.5 | 7193.25 | 1771.25 | 1793.25 | 2906.5 | 3907 | 5512.25 | 2443.25
1:30 | 5026.5 | 2418.5 | 6810 | 1825.75 | 1686.5 | 2848.25 | 4086.5 | 5513.75 | 2425.75
1:45 | 4997.5 | 2331.25 | 6738.75 | 1848.25 | 1602.75 | 2889 | 4219.25 | 5522.5 | 2363.25
2:00 | 5050.5 | 2243.5 | 6701.25 | 1940 | 1544 | 2896.25 | 4261.25 | 5612.5 | 2330.75
2:15 | 5053.75 | 2331 | 6740.5 | 2014.25 | 1492.25 | 2927.25 | 4477.75 | 5614.75 | 2293.25
2:30 | 5009.5 | 2358.5 | 6719.25 | 2063.5 | 1436.75 | 2981 | 4642.25 | 5404.25 | 2271.25
2:45 | 4975.75 | 2321 | 6788 | 2162.25 | 1408.5 | 3008.25 | 4763 | 5386 | 2264
3:00 | 4969.5 | 2319.25 | 6848.25 | 2246.5 | 1385.25 | 2972.5 | 4798.5 | 5461 | 2299.5
3:15 | 4958 | 2287 | 6837.5 | 2341.25 | 1370.25 | 2984.75 | 4918 | 5474.25 | 2277
3:30 | 4950.5 | 2255.25 | 6753.25 | 2404 | 1304.5 | 2964.75 | 4998 | 5490.25 | 2201
3:45 | 4947.5 | 2188.5 | 6756.75 | 2509 | 1249 | 2863.75 | 5097.5 | 5430.25 | 2184
4:00 | 4967.5 | 2141.75 | 6829.25 | 2545.75 | 1262.25 | 2824.75 | 5245.25 | 5314.25 | 2138.5
4:15 | 4965.25 | 2125 | 6727.25 | 2594.5 | 1280.75 | 2646 | 5337 | 5315.25 | 2132.5
4:30 | 4984.75 | 2101.25 | 6773.5 | 2657.5 | 1258.5 | 2617 | 5365.5 | 5348.25 | 2107.5
4:45 | 4997.25 | 2099 | 6721 | 2742.75 | 1220.25 | 2625.25 | 5466 | 5317.25 | 2056.25
5:00 | 4972 | 2076.5 | 6787.75 | 2882 | 1252.75 | 2583.5 | 5558.75 | 5158 | 2042.25
5:15 | 4939.25 | 2069.25 | 7065.75 | 2979.75 | 1266.75 | 2562.25 | 5582 | 5160.5 | 2026.75
5:30 | 4956.75 | 2108 | 7252.75 | 3098.5 | 1292.25 | 2505 | 5753.75 | 5133.25 | 2031.75
5:45 | 4869.75 | 2093.75 | 7279 | 3206 | 1314 | 2372.25 | 5780.75 | 5096 | 2015
6:00 | 4822.75 | 2101.25 | 7430.25 | 3291.75 | 1288.25 | 2300.25 | 5892.25 | 5062.5 | 2017.75
6:15 | 4864.25 | 2175.75 | 7731.25 | 3438.75 | 1248.75 | 2221.5 | 6124.5 | 5121.75 | 1985
6:30 | 4870.5 | 2256.75 | 7825.5 | 3439.25 | 1200.75 | 2107.75 | 6084 | 5119 | 1941.5
6:45 | 4839 | 2275.5 | 7829.25 | 3423.25 | 1124.25 | 2000.5 | 6106.75 | 5142.75 | 1898.25
7:00 | 4820.25 | 2276.25 | 7879.5 | 3535.25 | 1038.75 | 1841.75 | 6109.75 | 5062.5 | 1837.25
7:15 | 4801.5 | 2268.25 | 7892 | 3556.5 | 934.25 | 1639.5 | 6030.75 | 4906.5 | 1762.5
7:30 | 4823 | 2328 | 8064.5 | 3532.25 | 770.75 | 1484.25 | 5991.25 | 4702.75 | 1681.5
7:45 | 4810.75 | 2371.5 | 8073.75 | 3510.25 | 643.25 | 1345 | 5980.5 | 4646.75 | 1588.25
8:00 | 4723.5 | 2387.25 | 8092.25 | 3552 | 633.75 | 1246.5 | 5934 | 4597.25 | 1488.75
8:15 | 4720.75 | 2491.75 | 8053.25 | 3771.5 | 613.5 | 1143.75 | 6053.25 | 4546.75 | 1363.25
8:30 | 4744.75 | 2578.75 | 8299 | 3857.75 | 580 | 1080.25 | 6180 | 4500 | 1212.5
8:45 | 4741.25 | 2660.25 | 8349.75 | 4016 | 597.75 | 1071.25 | 6206.5 | 4602.75 | 1054.5
9:00 | 4758 | 2715.25 | 8313.25 | 4054.25 | 647.75 | 1090.5 | 6355.5 | 4587.5 | 953
9:15 | 4801.5 | 2777 | 8175.25 | 4196.75 | 649.5 | 1111.75 | 6472 | 4629 | 903.25
9:30 | 4823.5 | 2867 | 8184.5 | 4250.25 | 683.25 | 1100.75 | 6716.75 | 4655 | 916.75
9:45 | 4821.25 | 2856.25 | 8224.25 | 4174.75 | 749 | 1124.5 | 6852.5 | 4722 | 905.5
10:00 | 4777 | 2848.75 | 8248 | 4146 | 757.75 | 1233.5 | 6800 | 4686.25 | 935.5
10:15 | 4662 | 2844.75 | 8158 | 4151 | 760.25 | 1269.5 | 6941 | 4816.75 | 998.25
10:30 | 4561.25 | 2829.75 | 8069.5 | 4205.5 | 787.5 | 1367.75 | 7016 | 4928 | 1095
10:45 | 4528.25 | 2750.5 | 7977.25 | 4089.5 | 807 | 1429 | 7092.75 | 4900.75 | 1183.75
11:00 | 4493 | 2713.75 | 7925.25 | 3839.75 | 767 | 1541 | 7166 | 4710 | 1272.25
11:15 | 4356.75 | 2695.75 | 7959.5 | 3863 | 763 | 1638.25 | 7047.5 | 5074.75 | 1328
11:30 | 4314.5 | 2654.75 | 8025 | 4175.75 | 754 | 1721.5 | 7076.5 | 5246.75 | 1375
11:45 | 4250.75 | 2525.25 | 8242.25 | 4026 | 723.5 | 1734.25 | 6981 | 5068.75 | 1443
12:00 | 4127.5 | 2497.5 | 8193.5 | 3796.5 | 690 | 1831.5 | 6989.25 | 5050 | 1410.25
12:15 | 3994.75 | 2523 | 8329 | 3970.75 | 688.75 | 1864.5 | 6770.75 | 4990 | 1418.75
12:30 | 3863 | 2477.25 | 8372 | 3962 | 712 | 1916 | 6700.5 | 4916.5 | 1436.25
12:45 | 3732.5 | 2436.5 | 8465.75 | 3922.5 | 712.5 | 2008 | 6581.75 | 4908.75 | 1440.5
13:00 | 3621.5 | 2467.5 | 8467.25 | 3844.75 | 703.5 | 2085.5 | 6197.25 | 4764 | 1446.25
13:15 | 3562.5 | 2442.75 | 8509.25 | 3876.25 | 685 | 2188.25 | 6008.25 | 4448.5 | 1471
13:30 | 3517 | 2388.25 | 8511.5 | 3761 | 643.25 | 2190.25 | 5620.5 | 4203.5 | 1500.75
13:45 | 3465.75 | 2422.75 | 8479.75 | 3661.25 | 572 | 2212.25 | 5502.75 | 3962.75 | 1559.75
14:00 | 3355.5 | 2470 | 8560.5 | 3502 | 594 | 2304.25 | 5313.75 | 3828.75 | 1624.75
14:15 | 3267 | 2482.25 | 8718.25 | 3297.75 | 616.25 | 2359.5 | 4858.5 | 3761.5 | 1651.5
14:30 | 3221.25 | 2517.75 | 8754.5 | 3242.25 | 594.25 | 2425.5 | 4892 | 3686.5 | 1719.25
14:45 | 3168.75 | 2584.5 | 8620.25 | 3111.25 | 574.25 | 2469.5 | 5074 | 3694.5 | 1790
15:00 | 3134.75 | 2722.75 | 8609.25 | 3315 | 563.25 | 2387.25 | 5114.5 | 3722.75 | 1826.75
15:15 | 3047 | 2839 | 8507.5 | 3192.5 | 549.25 | 2296.25 | 5302.75 | 3416 | 1887.25
15:30 | 2982.75 | 2933.5 | 8335.25 | 3214.25 | 598 | 2321.75 | 5564.75 | 3517.5 | 1957.5
15:45 | 2948.25 | 3070.25 | 8332 | 3316.25 | 611.75 | 2294 | 5649.25 | 3660.5 | 2071
16:00 | 2962.75 | 3194.5 | 8305.25 | 3388.5 | 644.5 | 2289.75 | 5770.5 | 3747.75 | 2159.5
16:15 | 2974.25 | 3304 | 8085.75 | 3440 | 675 | 2291.25 | 5864 | 3519.75 | 2255.5
16:30 | 2976 | 3363.75 | 8028.5 | 3525.5 | 689.75 | 2301 | 6038.75 | 3790.5 | 2380.25
16:45 | 3048.5 | 3437 | 8024 | 3715.25 | 709 | 2214.75 | 6294.75 | 4148 | 2448.75
17:00 | 3124.25 | 3522 | 7848.75 | 4115.75 | 703.5 | 2188.5 | 6667.25 | 4209.5 | 2517.5
17:15 | 3154.25 | 3581.25 | 7707 | 3808.75 | 727.75 | 2152.5 | 6710 | 4264 | 2663.25
17:30 | 3200.5 | 3649.25 | 7679.75 | 4068.5 | 684.25 | 2130 | 6769.75 | 4463 | 2798
17:45 | 3224.75 | 3744.5 | 7723.5 | 4128.25 | 658.75 | 2065.25 | 7088 | 4484.75 | 2937.5
18:00 | 3245.75 | 3850.25 | 7663.5 | 4032 | 661.5 | 2080.5 | 7091 | 4297.25 | 2961
18:15 | 2965.75 | 3903 | 7623.25 | 4117 | 636.25 | 2076.5 | 7135.5 | 4095 | 3030.75
18:30 | 3044.75 | 4000.75 | 7534 | 4130.25 | 600.75 | 2004 | 7083.25 | 3791 | 3086
18:45 | 3138 | 4052.75 | 7575 | 4186 | 593 | 1932.5 | 6987.5 | 3629.5 | 3062.25
19:00 | 3134 | 4132 | 7580.5 | 4123 | 493.5 | 1878 | 6626 | 3479.75 | 3072.75
19:15 | 3143.25 | 4190.75 | 7483.5 | 3939.25 | 444.5 | 1863 | 6198.5 | 3221.25 | 3042.25
19:30 | 3103.75 | 4285 | 7493.25 | 3675.5 | 376.25 | 1875.75 | 5959.25 | 2971.5 | 2920.25
19:45 | 3167.5 | 4305 | 7484 | 3630.75 | 336 | 1805.5 | 5854.75 | 2848.75 | 2894
20:00 | 3110 | 4342.25 | 7468.5 | 3432.75 | 328.75 | 1755.25 | 5802 | 2731.5 | 2858.5
20:15 | 3087 | 4332 | 7385 | 3199.75 | 317.75 | 1698 | 5932 | 2598.75 | 2910.5
20:30 | 3156.25 | 4413.5 | 7383.75 | 3001.75 | 318.5 | 1667.5 | 5826.75 | 2551 | 2969.75
20:45 | 3170.5 | 4431.25 | 7372.5 | 2732.75 | 311.5 | 1618.75 | 5829 | 2479.5 | 3001.25
21:00 | 3161.75 | 4520.25 | 7382.5 | 2540.75 | 351.5 | 1607.25 | 5716.75 | 2484 | 3070.25
21:15 | 3130.75 | 4551 | 7445.75 | 2431.5 | 393 | 1559.75 | 5731 | 2470.25 | 3076.5
21:30 | 3150 | 4620.75 | 7512.75 | 2380.25 | 419.25 | 1522 | 5641.25 | 2569.5 | 3134.5
21:45 | 3140.25 | 4756 | 7484 | 2338.75 | 380.25 | 1485.5 | 5653.25 | 2512.25 | 3163.5
22:00 | 3148.75 | 4804 | 7384.25 | 2271 | 382.75 | 1478.25 | 5622.75 | 2472.5 | 3192.25
22:15 | 3083 | 4724.25 | 7285.25 | 2261.5 | 394.5 | 1464.5 | 5511.75 | 2395.5 | 3120
22:30 | 3047.5 | 4758.75 | 7388.75 | 2307.5 | 391 | 1483 | 5503.5 | 2409 | 3124.75
22:45 | 3000.5 | 4745.5 | 7424 | 2366.25 | 384.75 | 1529 | 5555.5 | 2401.25 | 3165
23:00 | 2948.25 | 4751.5 | 7331.25 | 2368.25 | 400.75 | 1612.5 | 5596.25 | 2415.75 | 3224.25
23:15 | 2897.25 | 4771.25 | 7317.75 | 2364.5 | 402.25 | 1649 | 5579.5 | 2409 | 3247
23:30 | 2861.5 | 4807 | 7429.25 | 2374 | 415.5 | 1629.5 | 5653.75 | 2356.5 | 3194.25
23:45 | 2809 | 4784.75 | 7372 | 2332 | 392.25 | 1569.25 | 5661.75 | 2246.25 | 3188.5
0:00 | 2736 | 4658 | 7272.25 | 2241.5 | 396.75 | 1561.75 | 5612 | 2189.75 | 3193.25

## Sgen_profiles_WP_scaled
Time | W_Samstag | W_Sonntag | W_Werktag | S_Samstag | S_Sonntag | S_Werktag | U_Samstag | U_Sonntag | U_Werktag
0:15 | 0.56762 | 0.30647 | 0.84945 | 0.16811 | 0.24519 | 0.36887 | 0.40436 | 0.64118 | 0.28725
0:30 | 0.57345 | 0.30487 | 0.85096 | 0.17063 | 0.23885 | 0.35756 | 0.41527 | 0.64164 | 0.28654
0:45 | 0.58136 | 0.30125 | 0.83488 | 0.17528 | 0.23334 | 0.35305 | 0.42333 | 0.63342 | 0.27997
1:00 | 0.56582 | 0.29311 | 0.83023 | 0.18827 | 0.21854 | 0.34082 | 0.43058 | 0.62825 | 0.27934
1:15 | 0.56317 | 0.28345 | 0.82166 | 0.20232 | 0.20484 | 0.332 | 0.44628 | 0.62965 | 0.27909
1:30 | 0.57416 | 0.27626 | 0.77789 | 0.20855 | 0.19264 | 0.32535 | 0.46679 | 0.62982 | 0.27709
1:45 | 0.57085 | 0.26629 | 0.76975 | 0.21112 | 0.18308 | 0.33 | 0.48195 | 0.63082 | 0.26995
2:00 | 0.5769 | 0.25627 | 0.76546 | 0.2216 | 0.17637 | 0.33083 | 0.48675 | 0.6411 | 0.26623
2:15 | 0.57727 | 0.26626 | 0.76995 | 0.23008 | 0.17046 | 0.33437 | 0.51148 | 0.64136 | 0.26195
2:30 | 0.57222 | 0.2694 | 0.76752 | 0.23571 | 0.16412 | 0.34051 | 0.53027 | 0.61731 | 0.25944
2:45 | 0.56836 | 0.26512 | 0.77537 | 0.24699 | 0.16089 | 0.34362 | 0.54406 | 0.61523 | 0.25861
3:00 | 0.56765 | 0.26492 | 0.78225 | 0.25661 | 0.15823 | 0.33954 | 0.54812 | 0.62379 | 0.26266
3:15 | 0.56634 | 0.26124 | 0.78103 | 0.26743 | 0.15652 | 0.34094 | 0.56177 | 0.62531 | 0.26009
3:30 | 0.56548 | 0.25761 | 0.7714 | 0.2746 | 0.14901 | 0.33865 | 0.57091 | 0.62713 | 0.25141
3:45 | 0.56514 | 0.24999 | 0.7718 | 0.2866 | 0.14267 | 0.32712 | 0.58227 | 0.62028 | 0.24947
4:00 | 0.56742 | 0.24465 | 0.78008 | 0.29079 | 0.14418 | 0.32266 | 0.59915 | 0.60703 | 0.24427
4:15 | 0.56717 | 0.24273 | 0.76843 | 0.29636 | 0.1463 | 0.30224 | 0.60963 | 0.60714 | 0.24359
4:30 | 0.56939 | 0.24002 | 0.77372 | 0.30356 | 0.14375 | 0.29893 | 0.61288 | 0.61091 | 0.24073
4:45 | 0.57082 | 0.23976 | 0.76772 | 0.3133 | 0.13939 | 0.29987 | 0.62436 | 0.60737 | 0.23488
5:00 | 0.56794 | 0.23719 | 0.77534 | 0.3292 | 0.1431 | 0.29511 | 0.63496 | 0.58918 | 0.23328
5:15 | 0.5642 | 0.23636 | 0.8071 | 0.34037 | 0.1447 | 0.29268 | 0.63761 | 0.58947 | 0.23151
5:30 | 0.56619 | 0.24079 | 0.82846 | 0.35393 | 0.14761 | 0.28614 | 0.65723 | 0.58636 | 0.23208
5:45 | 0.55626 | 0.23916 | 0.83146 | 0.36621 | 0.15009 | 0.27097 | 0.66032 | 0.5821 | 0.23017
6:00 | 0.55089 | 0.24002 | 0.84873 | 0.37601 | 0.14715 | 0.26275 | 0.67305 | 0.57827 | 0.23048
6:15 | 0.55563 | 0.24853 | 0.88312 | 0.3928 | 0.14264 | 0.25376 | 0.69958 | 0.58504 | 0.22674
6:30 | 0.55634 | 0.25778 | 0.89388 | 0.39286 | 0.13716 | 0.24076 | 0.69496 | 0.58473 | 0.22177
6:45 | 0.55274 | 0.25992 | 0.89431 | 0.39103 | 0.12842 | 0.22851 | 0.69756 | 0.58744 | 0.21683
7:00 | 0.5506 | 0.26001 | 0.90005 | 0.40382 | 0.11865 | 0.21038 | 0.6979 | 0.57827 | 0.20986
7:15 | 0.54846 | 0.2591 | 0.90148 | 0.40625 | 0.10672 | 0.18728 | 0.68887 | 0.56045 | 0.20133
7:30 | 0.55092 | 0.26592 | 0.92118 | 0.40348 | 0.08804 | 0.16954 | 0.68436 | 0.53718 | 0.19207
7:45 | 0.54952 | 0.27089 | 0.92224 | 0.40097 | 0.073476 | 0.15364 | 0.68313 | 0.53078 | 0.18142
8:00 | 0.53955 | 0.27269 | 0.92435 | 0.40573 | 0.072391 | 0.14238 | 0.67782 | 0.52513 | 0.17006
8:15 | 0.53924 | 0.28463 | 0.9199 | 0.43081 | 0.070078 | 0.13065 | 0.69144 | 0.51936 | 0.15572
8:30 | 0.54198 | 0.29456 | 0.94797 | 0.44066 | 0.066252 | 0.12339 | 0.70592 | 0.51402 | 0.1385
8:45 | 0.54158 | 0.30387 | 0.95377 | 0.45874 | 0.068279 | 0.12237 | 0.70895 | 0.52576 | 0.12045
9:00 | 0.54349 | 0.31015 | 0.9496 | 0.4631 | 0.073991 | 0.12456 | 0.72597 | 0.52402 | 0.10886
9:15 | 0.54846 | 0.31721 | 0.93383 | 0.47938 | 0.07419 | 0.12699 | 0.73928 | 0.52876 | 0.10318
9:30 | 0.55097 | 0.32749 | 0.93489 | 0.48549 | 0.078046 | 0.12574 | 0.76723 | 0.53173 | 0.10472
9:45 | 0.55072 | 0.32626 | 0.93943 | 0.47687 | 0.085556 | 0.12845 | 0.78274 | 0.53938 | 0.10343
10:00 | 0.54566 | 0.3254 | 0.94214 | 0.47359 | 0.086555 | 0.1409 | 0.77674 | 0.5353 | 0.10686
10:15 | 0.53253 | 0.32495 | 0.93186 | 0.47416 | 0.086841 | 0.14501 | 0.79285 | 0.5502 | 0.11403
10:30 | 0.52102 | 0.32323 | 0.92175 | 0.48038 | 0.089954 | 0.15623 | 0.80142 | 0.56291 | 0.12508
10:45 | 0.51725 | 0.31418 | 0.91122 | 0.46713 | 0.092181 | 0.16323 | 0.81018 | 0.5598 | 0.13522
11:00 | 0.51322 | 0.30998 | 0.90528 | 0.4386 | 0.087612 | 0.17602 | 0.81855 | 0.53801 | 0.14533
11:15 | 0.49766 | 0.30793 | 0.90919 | 0.44126 | 0.087155 | 0.18713 | 0.80501 | 0.57967 | 0.15169
11:30 | 0.49283 | 0.30324 | 0.91667 | 0.47698 | 0.086127 | 0.19664 | 0.80833 | 0.59932 | 0.15706
11:45 | 0.48555 | 0.28845 | 0.94149 | 0.45988 | 0.082643 | 0.1981 | 0.79742 | 0.57899 | 0.16483
12:00 | 0.47147 | 0.28528 | 0.93592 | 0.43366 | 0.078817 | 0.20921 | 0.79836 | 0.57685 | 0.16109
12:15 | 0.45631 | 0.28819 | 0.9514 | 0.45357 | 0.078674 | 0.21298 | 0.7734 | 0.56999 | 0.16206
12:30 | 0.44126 | 0.28297 | 0.95631 | 0.45257 | 0.08133 | 0.21886 | 0.76538 | 0.5616 | 0.16406
12:45 | 0.42635 | 0.27831 | 0.96702 | 0.44806 | 0.081387 | 0.22937 | 0.75181 | 0.56071 | 0.16454
13:00 | 0.41367 | 0.28186 | 0.96719 | 0.43917 | 0.080359 | 0.23822 | 0.70789 | 0.54418 | 0.1652
13:15 | 0.40693 | 0.27903 | 0.97199 | 0.44277 | 0.078245 | 0.24996 | 0.6863 | 0.50814 | 0.16803
13:30 | 0.40174 | 0.2728 | 0.97224 | 0.42961 | 0.073476 | 0.25019 | 0.64201 | 0.48015 | 0.17143
13:45 | 0.39588 | 0.27674 | 0.96862 | 0.41821 | 0.065338 | 0.2527 | 0.62856 | 0.45265 | 0.17817
14:00 | 0.38329 | 0.28214 | 0.97784 | 0.40002 | 0.067851 | 0.26321 | 0.60697 | 0.43735 | 0.18559
14:15 | 0.37318 | 0.28354 | 0.99586 | 0.37669 | 0.070392 | 0.26952 | 0.55497 | 0.42966 | 0.18865
14:30 | 0.36795 | 0.28759 | 1 | 0.37035 | 0.067879 | 0.27706 | 0.5588 | 0.4211 | 0.19638
14:45 | 0.36196 | 0.29522 | 0.98467 | 0.35539 | 0.065595 | 0.28208 | 0.57959 | 0.42201 | 0.20447
15:00 | 0.35807 | 0.31101 | 0.98341 | 0.37866 | 0.064338 | 0.27269 | 0.58421 | 0.42524 | 0.20866
15:15 | 0.34805 | 0.32429 | 0.97179 | 0.36467 | 0.062739 | 0.26229 | 0.60572 | 0.3902 | 0.21557
15:30 | 0.34071 | 0.33508 | 0.95211 | 0.36715 | 0.068308 | 0.26521 | 0.63564 | 0.40179 | 0.2236
15:45 | 0.33677 | 0.35071 | 0.95174 | 0.37881 | 0.069878 | 0.26204 | 0.6453 | 0.41813 | 0.23656
16:00 | 0.33843 | 0.3649 | 0.94868 | 0.38706 | 0.073619 | 0.26155 | 0.65915 | 0.42809 | 0.24667
16:15 | 0.33974 | 0.37741 | 0.92361 | 0.39294 | 0.077103 | 0.26172 | 0.66983 | 0.40205 | 0.25764
16:30 | 0.33994 | 0.38423 | 0.91707 | 0.40271 | 0.078788 | 0.26284 | 0.68979 | 0.43298 | 0.27189
16:45 | 0.34822 | 0.3926 | 0.91656 | 0.42438 | 0.080987 | 0.25298 | 0.71903 | 0.47381 | 0.27971
17:00 | 0.35687 | 0.40231 | 0.89654 | 0.47013 | 0.080359 | 0.24999 | 0.76158 | 0.48084 | 0.28757
17:15 | 0.3603 | 0.40908 | 0.88035 | 0.43506 | 0.083129 | 0.24587 | 0.76646 | 0.48706 | 0.30421
17:30 | 0.36558 | 0.41684 | 0.87723 | 0.46473 | 0.07816 | 0.2433 | 0.77329 | 0.50979 | 0.31961
17:45 | 0.36835 | 0.42772 | 0.88223 | 0.47156 | 0.075247 | 0.23591 | 0.80964 | 0.51228 | 0.33554
18:00 | 0.37075 | 0.4398 | 0.87538 | 0.46056 | 0.075561 | 0.23765 | 0.80998 | 0.49086 | 0.33823
18:15 | 0.33877 | 0.44583 | 0.87078 | 0.47027 | 0.072677 | 0.23719 | 0.81507 | 0.46776 | 0.34619
18:30 | 0.34779 | 0.45699 | 0.86059 | 0.47179 | 0.068622 | 0.22891 | 0.8091 | 0.43303 | 0.3525
18:45 | 0.35844 | 0.46293 | 0.86527 | 0.47815 | 0.067737 | 0.22074 | 0.79816 | 0.41459 | 0.34979
19:00 | 0.35799 | 0.47199 | 0.8659 | 0.47096 | 0.056371 | 0.21452 | 0.75687 | 0.39748 | 0.35099
19:15 | 0.35904 | 0.4787 | 0.85482 | 0.44997 | 0.050774 | 0.2128 | 0.70804 | 0.36795 | 0.34751
19:30 | 0.35453 | 0.48946 | 0.85593 | 0.41984 | 0.042978 | 0.21426 | 0.68071 | 0.33943 | 0.33357
19:45 | 0.36181 | 0.49175 | 0.85487 | 0.41473 | 0.03838 | 0.20624 | 0.66877 | 0.3254 | 0.33057
20:00 | 0.35525 | 0.496 | 0.8531 | 0.39211 | 0.037552 | 0.2005 | 0.66274 | 0.31201 | 0.32652
20:15 | 0.35262 | 0.49483 | 0.84357 | 0.3655 | 0.036296 | 0.19396 | 0.67759 | 0.29685 | 0.33246
20:30 | 0.36053 | 0.50414 | 0.84342 | 0.34288 | 0.036381 | 0.19047 | 0.66557 | 0.29139 | 0.33923
20:45 | 0.36216 | 0.50617 | 0.84214 | 0.31215 | 0.035582 | 0.1849 | 0.66583 | 0.28323 | 0.34282
21:00 | 0.36116 | 0.51633 | 0.84328 | 0.29022 | 0.040151 | 0.18359 | 0.65301 | 0.28374 | 0.35071
21:15 | 0.35762 | 0.51985 | 0.85051 | 0.27774 | 0.044891 | 0.17817 | 0.65463 | 0.28217 | 0.35142
21:30 | 0.35981 | 0.52781 | 0.85816 | 0.27189 | 0.04789 | 0.17385 | 0.64438 | 0.29351 | 0.35804
21:45 | 0.3587 | 0.54326 | 0.85487 | 0.26715 | 0.043435 | 0.16968 | 0.64575 | 0.28697 | 0.36136
22:00 | 0.35967 | 0.54875 | 0.84348 | 0.25941 | 0.04372 | 0.16886 | 0.64227 | 0.28243 | 0.36464
22:15 | 0.35216 | 0.53964 | 0.83217 | 0.25832 | 0.045063 | 0.16729 | 0.62959 | 0.27363 | 0.35639
22:30 | 0.34811 | 0.54358 | 0.84399 | 0.26358 | 0.044663 | 0.1694 | 0.62865 | 0.27517 | 0.35693
22:45 | 0.34274 | 0.54206 | 0.84802 | 0.27029 | 0.043949 | 0.17465 | 0.63459 | 0.27429 | 0.36153
23:00 | 0.33677 | 0.54275 | 0.83743 | 0.27052 | 0.045776 | 0.18419 | 0.63924 | 0.27594 | 0.3683
23:15 | 0.33094 | 0.54501 | 0.83588 | 0.27009 | 0.045948 | 0.18836 | 0.63733 | 0.27517 | 0.37089
23:30 | 0.32686 | 0.54909 | 0.84862 | 0.27117 | 0.047461 | 0.18613 | 0.64581 | 0.26918 | 0.36487
23:45 | 0.32086 | 0.54655 | 0.84208 | 0.26638 | 0.044806 | 0.17925 | 0.64672 | 0.25658 | 0.36421
0:00 | 0.31252 | 0.53207 | 0.83069 | 0.25604 | 0.04532 | 0.17839 | 0.64104 | 0.25013 | 0.36476